|  |  |
| --- | --- |
|  | **\\fp1\RedirectedFolders$\gjvrijmoeth\Desktop\weblogo Inacom.png** |
|  |  |
|  |  |
| **Part Number** | **Description** |
| **PR-1 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Standard Stainless Steel/Teflon Lined Diaphragm Assemblies** | |
| G102380 | 10 PSIG (Color Coded **Orange**) |
| G100040 | 25, 50 and 100 PSIG (Color Coded **Black**) |
| G100042 | 250 PSIG (No Color used to Color code this range) |
| G100044 | 500 PSIG (Color Coded **Red**) |
| G106338 | 750 & 1000 PSIG Repair Kit (Includes the Belleville Washers) (Ref P/N 103947) |
| G106339 | 750 & 1000 PSIG (Diaphragm Assembly Only) |
| **Stainless Steel/PEEK Lined Diaphragm Assemblies** | |
| G114831 | 10 PSIG |
| G114811 | 25, 50 and 100 PSIG |
| G114832 | 250 PSIG |
| G114912 | 500 PSIG |
| G115220 | 750 & 1000 PSIG Repair Kit (Diaphragm Assembly Only) |
| **Monel/Teflon Lined Diaphragm Assemblies (Inconel Backing Standard)** | |
| G100041 | 25, 50 and 100 PSIG |
| G100043 | 250 PSIG |
| G100045 | 500 PSIG |
| G111944 | 750 & 1000 PSIG |
| **Hastelloy C/Teflon Lined Diaphragm Assemblies** | |
| G103393 | 10, 25, 50 and 100 PSIG |
| G115151 | 10, 25, 50 and 100 PSIG (With optional PEEK Liner in place of Std Teflon Liner) |
| G103394 | 250 PSIG |
| G103395 | 500 PSIG |
| **Hastelloy B/Teflon Lined Diaphragm Assemblies** | |
| G100456 | 25, 50 and 100 PSIG |
| G100457 | 250 PSIG |
| G100458 | 500 PSIG |
| **Stainless Steel/Tefzel Seal Ring Diaphragm Assemblies** | |
| G102381 | 10 PSIG |
| G102382 | 25, 50 and 100 PSIG |
| G102383 | 250 PSIG |
| G102384 | 500 PSIG |
| G114704 | 750 & 1000 PSIG |
| **Stainless Steel/Teflon Lined Self Relieving Diaphragm Assemblies** | |
| G100989 | 10 PSIG |
| G100990 | 25, 50 and 100 PSIG |
| G100991 | 250 PSIG |
| G100992 | 500 PSIG |
| G110826 | 750 PSIG |
| **Tantalum/Teflon Lined Diaphragm Assemblies** | |
| G101761 | 25, 50, and 100 PSIG (Used in the Titanium PR-1's) |
| G110307 | 25, 50, and 100 PSIG (Used in the Titanium PR-1's) (With Tefzel Seal Ring in place of Teflon Liner) |
| G101762 | 250 PSIG (Used in Titanium PR-1's) |
| **Stainless Steel/Teflon Lined Liquid Service Diaphragm Assemblies** | |
| G103776 | 0-10 PSIG |
| G107473 | 25, 50 and 100 PSIG |
| G107488 | 250 PSIG |
| G107486 | 500 PSIG |
| G110827 | 750 PSIG |
| **Monel /Teflon Lined Liquid Service Diaphragm Assemblies** | |
| G102131 | 25, 50 and 100 PSIG |
| G102132 | 250 PSIG |
| **Miscellaneous PR-1 Diaphragms** | |
| G110137 | 100 PSIG Titanium Actuator/Inconel Backing/Teflon Lined |
| G103947 | 750 PSIG Conversion KIT (Diaphragm, Belleville Washers, Drawing) |
| G110300 | 500 PSIG Monel/Tefzel Seal Ring |
| G112828 | 750 PSIG SS/Viton lined |
| G110306 | 500 PSIG Hastelloy C/Tefzel Seal Ring |
| G115151 | 25, 50, and 100 PSIG (Hast C Backing and Actuator with PEEK Liner in place of Teflon Liner) |
| G115204 | 25, 50, and 100 PSIG Tantalum Backed/Teflon Lined Diaphragm Assy for Liquid Service |
| G110307 | 25, 50, and 100 PSIG Tantalum Backed/Tefzel Seal Ring Diaphragm Assy (Titanium PR-1's) |
| G102131 | 25, 50, and 100 PSIG Inconel Backed/Teflon Lined Diaphragm Assy for Liquid Service (Monel Units) |
| G102132 | 250 PSIG Inconel Backed/Teflon Lined Diaphragm Assy for Liquid Service (Monel Units) |
| **Poppet, Seat, and Spring Kits** | |
| **316 SS PR-1's with 0.06 Cv** | |
| G102630 | Tefzel Seat |
| G100316 | High Density Teflon Seat |
| G102635 | Ceramic Filled Teflon Seat |
| G102640 | Polyimide Seat |
| G108112 | PCTFE (Formerly Kel-F) Seat |
| G107869 | PEEK Seat |
| **316 SS PR-1's with 0.2 Cv** | |
| G103013 | Tefzel Seat |
| G102597 | Ceramic Filled Teflon Seat |
| G109035 | PEEK Seat |
| G106307 | Polyimide Seat |
| G112500 | PCTFE (Formerly Kel-F) Seat |
| G113302 | High Density Teflon Seat |
| **316 SS PR-1's with 0.025 Cv** | |
| G109808 | Tefzel Seat |
| G109713 | Ceramic Filled Teflon Seat |
| G109714 | Polyimide Seat |
| G114375 | PCTFE (Formerly Kel F) Seat |
| G114098 | PEEK |
| G114001 | High Density Teflon Seat |
| **316 SS PR-1's with 0.5 Cv** | |
| G107846 | Tefzel Seat |
| G107849 | Ceramic Filled Teflon Seat |
| G107847 | Polyimide Seat |
| G107848 | PCTFE (Formerly Kel-F) Seat |
| G109034 | PEEK Seat |
| G113101 | High Density Teflon Seat |
| **Monel PR-1's** |  |
| G102631 | Tefzel Seat, 0.06 Cv |
| G114126 | High Density Teflon Seat .06 Cv |
| G102636 | Ceramic Filled Teflon Seat, 0.06 Cv |
| G102641 | Polyimide Seat, 0.06 Cv |
| G112204 | PEEK Seat, 0.06 Cv |
| G112860 | PCTFE (Formerly Kel-F) Seat, 0.06 Cv |
| G102649 | Tefzel Seat, 0.2 Cv |
| G107893 | Ceramic Filled Teflon Seat, 0.2 Cv |
| **Hastelloy C PR-1's** | |
| G102634 | Tefzel Seat, 0.06 Cv |
| G102639 | Ceramic Filled Teflon Seat, 0.06 Cv |
| G102644 | Polyimide Seat, 0.06 Cv |
| G112491 | PCTFE (Formerly Kel-F) Seat, 0.06 Cv |
| G112893 | Tefzel Seat, 0.025 Cv |
| G112894 | Tefzel Seat, 0.5 Cv |
| G107894 | Tefzel Seat, 0.2 Cv |
| G115152 | PEEK 0.5 Cv |
| G102968 | Ceramic Filled Teflon Seat, 0.2 Cv |
| G114074 | High Density Teflon Seat, 0.2 Cv |
| **Hastelloy B PR-1's** | |
| G102632 | Tefzel Seat, 0.06 Cv |
| G102637 | Ceramic Filled Teflon Seat, 0.06 Cv |
| G102642 | Polyimide Seat, 0.06 Cv |
| G113800 | Tefzel Seat, 0.2 Cv |
| **Titanium PR-1's** |  |
| G102633 | Tefzel Seat, 0.06 Cv |
| G112826 | Ceramic Filled Teflon Seat, 0.06 Cv |
| G102643 | Polyimide Seat, 0.06 Cv |
| G115426 | PEEK Seat 0.06 Cv |
| G113102 | Ceramic Filled Teflon Seat, 0.2 Cv |
| G115203 | Tefzel Seat, 0.025 Cv |
| G115421 | Polyimide Seat, 0.2 Cv |
| G101760 | High Density Teflon Seat, 0.06 Cv |
| **PR-1 Self Relieving Kits and Parts** | |
| G100970 | SS, 0.06 Cv, Tefzel Seat, 0-25 PSIG |
| G100971 | SS, 0.06 Cv, Tefzel Seat, 0-50 PSIG |
| G100972 | SS, 0.06 Cv, Tefzel Seat, 0-100 PSIG |
| G100973 | SS, 0.06 Cv, Tefzel Seat, 0-250 PSIG |
| G100974 | SS, 0.06 Cv, Tefzel Seat, 0-500 PSIG |
| G113698 | SS, 0.06 Cv, Peek Seat, 0-500 PSIG |
| G101000 | SS, 0.2 Cv, Tefzel Seat, 0-25 PSIG |
| G101001 | SS, 0.2 Cv, Tefzel Seat, 0-50 PSIG |
| G101002 | SS, 0.2 Cv, Tefzel Seat, 0-100 PSIG |
| G101003 | SS, 0.2 Cv, Tefzel Seat, 0-250 PSIG |
| G115226 | SS, 0.2 Cv, Tefzel Seat, 0-500 PSIG |
| G115271 | SS, 0.025 Cv, Tefzel Seat, 0-10-25-50 PSIG |
| G114493 | SS, 0.025 Cv, Tefzel Seat, 0-100 PSIG |
| G113917 | SS, 0.025 Cv, Tefzel Seat, 0-250 PSIG |
| G115591 | SS, 0.025 Cv, PCTFE Seat, 0-500 PSIG |
| G115334 | SS, 0.5 Cv, Tefzel Seat, 0-250 PSIG |
| G115224 | SS, 0.5 Cv, Tefzel Seat, 0-500 PSIG |
| G115631 | SS, 0.5 Cv, PCTFE Seat, 0-50 Tef/ Viton PSIG |
| G114993 | SS, 0.06 Cv, PCTFE Seat (Main Poppet Kit only, NO Diaphragm in this kit) |
| G100966 | SS Self Relieving Actuator |
| G100968 | SS Self Relieving Button ASSY w/Poppet |
| G110084 | SS Self Relieving Poppet S/R 0.06 Cv (Threaded poppet only) |
| G109813 | SS Self Relieving Poppet S/R 0.2 Cv (Threaded poppet only) |
| G114667 | SS, 0.2 Cv, PEEK Seat, 0-250 PSIG, Teflon Lined Inconel Diaphragm |
| G114120 | SS, 0.06 Cv PEEK Seat, 0-100 Teflon/SS Diaphragm Assembly |
| G115222 | Self Relieving Button Assembly (with Viton Seal installed) |
| **PR-1 Captured Vent Kits and Parts** | |
| G100856 | Captured Vent SS ADJ SCREW |
| G100863 | Captured Vent BRASS ADJ SCREW |
| G100864 | Captured Vent NYLON SLIP RING |
| G100998 | Captured Vent Black Anodized Aluminum Cap (Cap Only, No Nut) |
| G108940 | Captured Vent Complete Cap Kit - Black Anodized Aluminum |
| G109125 | Captured Vent Complete Cap Kit - Stainless Steel |
| G103772 | Captured Vent Panel Mount Cap Kit - Black Anodized Aluminum |
| G115302 | Captured Vent, Stainless Steel, Tamper Proof Cap Assembly Kit |
| **PR-1 DAP Kits** |  |
| G103470 | 25 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| G103471 | 50 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| G103472 | 100 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| G103473 | 250 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| G103474 | 500 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| **PR-1 Seats** |  |
| G103688 | Tefzel Seat, 0.06 Cv |
| G103687 | Tefzel Seat, 0.2 Cv |
| G109058 | Tefzel Seat, 0.025 Cv |
| G110286 | Tefzel Seat, 0.5 Cv |
| G101168 | Ceramic Filled Teflon Seat, 0.06 Cv |
| G101169 | Ceramic Filled Teflon Seat, 0.2 Cv |
| G109059 | Ceramic Filled Teflon Seat, 0.025 Cv |
| G110283 | Ceramic Filled Teflon Seat, 0.5 Cv |
| G101156 | Polyimide Seat, 0.06 Cv |
| G101157 | Polyimide Seat, 0.2 Cv |
| G109060 | Polyimide Seat, 0.025 Cv |
| G110284 | Polyimide Seat, 0.5 Cv |
| G101162 | High Density Teflon Seat, 0.06 Cv |
| G101163 | High Density Teflon Seat, 0.2 Cv |
| G109057 | High Density Teflon Seat, 0.025 Cv |
| G110282 | High Density Teflon Seat, 0.5 Cv |
| G101199 | PCTFE (Formerly Kel-F) Seat, 0.06 Cv |
| G103689 | PCTFE (Formerly Kel-F) Seat, 0.2 Cv |
| G101158 | PCTFE (Formerly Kel-F) Seat, 0.025 Cv |
| G110285 | PCTFE (Formerly Kel-F) Seat, 0.5 Cv |
| G110478 | PEEK Seat, 0.06 Cv |
| G110479 | PEEK Seat, 0.2 Cv |
| G110477 | PEEK Seat, 0.025 Cv |
| G110480 | PEEK Seat, 0.5 Cv |
| **Miscellaneous Internal Parts** | |
| G100928 | Diaphragm Nut, Stainless Steel, (Optional) |
| G110740 | LOWER FLAT SEAL, PEEK |
| G101167 | LOWER FLAT SEAL, Teflon (Standard used in all units) |
| G101047 | POPPET SPRING Hastelloy C |
| G106310 | POPPET SPRING Inconel (Standard used in all Stainless Steel and Monel units) |
| G101048 | POPPET SPRING Titanium |
| G109799 | POPPET, Stainless Steel, 0.025 Cv |
| G100020 | POPPET, Stainless Steel, 0.06 Cv |
| G102598 | POPPET, Stainless Steel, 0.2 Cv |
| G110295 | POPPET, Stainless Steel, 0.5 Cv |
| G101175 | SEAT HOLDER, MONEL |
| G101161 | SEAT HOLDER, Stainless Steel |
| G102332 | SEAT Retainer, MONEL, 0.06 Cv |
| G102333 | SEAT Retainer, MONEL, 0.2 Cv |
| G102335 | SEAT Retainer, Hastelloy C, 0.2 Cv |
| G109801 | SEAT RETAINER, Stainless Steel, 0.025 Cv |
| G102330 | Seat Retainer, Stainless Steel, 0.06 Cv |
| G102331 | Seat Retainer, Stainless Steel, 0.2 Cv |
| G102336 | SEAT Retainer, Hastelloy C, 0.06 Cv |
| G110279 | SEAT RETAINER, Stainless Steel, 0.5 Cv |
| G104519 | Seat Retainer, Titanium, 0.06 Cv |
| G100925 | SPRING BUTTON, Stainless Steel, (Optional) |
| G107331 | TEFZEL SEALING RING, Outer seal ring for Diaphragm |
| G107330 | TEFZEL SEALING RING, Inner seal ring for Diaphragm |
| G110814 | VACUUM ASSIST SPRING |
| **Cap/Bonnet Parts and Range Springs** | |
| G074100 | Knob Nut |
| G110291 | Standard Pry Out Plug Assembly with Blue GO Logo |
| G110682 | Standard Pry Out Plug Assembly with optional Black GO Logo |
| G109816 | Standard Blue Knob with Pry Out Plug Assembly and Blue GO Logo |
| G113667 | Std Cap Assembly with Metal Knob |
| G106816 | ADJ SCREW SHORT, Stainless Steel, (For Tamper Proof PR-1's) |
| G106815 | ADJ SCREW, Stainless Steel (Standard Adjusting Screw for PR-1's) |
| G102521 | CAP ASSEMBLY, Complete, Stainless Steel |
| G103029 | CAP, For Fine adjust insert. (Insert not included) |
| G114752 | CAP ASSEMBLY, Tamper Proof, Panel Mount, Complete, Stainless Steel |
| G102526 | CAP ASSEMBLY, Panel Mount, Complete, Stainless Steel |
| G102111 | Polyimide Slip Ring for Dome Load and Contained Cap Option (Back Side of Diaphragm) |
| G103920 | CAP, Stainless Steel (Standard Cap for PR-1's) |
| G103937 | SS Dome Load Cap |
| G100687 | Fine Adjust adjusting screw for G103029 Cap Assy |
| G100686 | Fine Adjust insert for G103029 Cap Assy |
| G109802-1 | Blue Plastic Knob |
| G109803-1 | Blue Plastic Knob - Panel Mount |
| G109803-2 | Black Plastic Knob - Panel Mount |
| G103838 | METAL KNOB, BLUE, Aluminum |
| G103944 | METAL Panel Mount KNOB, BLUE, Aluminum |
| G100791 | Belleville Washer - Each |
| G100794 | Spring Button for units with Belleville Washers |
| G107685 | SS Panel Mount Nut |
| G107686 | SS Panel Mount Nut (Heavy Duty) |
| G100890 | Range Spring, 10 AND 25 PSIG (Standard for all PR-1's) (Color Coded **Green**) |
| G100892 | Range Spring, 100 PSIG (Standard for all PR-1's) (Color Coded **Yellow**) |
| G100893 | Range Spring, 250 PSIG (Standard for all PR-1's) (Color Coded **Brown**) |
| G100891 | Range Spring, 50 PSIG (Standard for all PR-1's) (Color Coded **Blue**) |
| G100894 | Range Spring, 500 PSIG (Standard for all PR-1's) (Not Color Coded, Square Spring Material) |
| G101595 | Range Spring, Inconel 10 and 25 PSIG |
| G101596 | Range Spring, Inconel 50 PSIG |
| G101597 | Range Spring, Inconel 100 PSIG |
| G101598 | Range Spring, Inconel 250 PSIG |
| G100961 | Range Spring, Nispan 25 PSIG (Color Coded **Light Green**) |
| G100963 | Range Spring, Nispan 10 PSIG (For Low inlet pressure (<250 PSIG) units.) (Color Coded **White**) |
| **Miscellaneous Parts** | |
| G100388 | MOUNTING BRACKET (Step Type - Bracket Only) |
| G111312 | MOUNTING BRACKET KIT (Includes screws, lock washers, and G100388 bracket) |
| G100372 | MOUNTING BRACKET (L Type - Bracket Only) |
| G109873 | REGULATOR STEAM ATTACHMENT - SS |
| G103596 | 1/4" FNPT 20 Micron Inlet Filter Kit (For Inlet port) |
| G100089 | 1/4" FNPT 70 Micron Inlet Filter Kit (Inlet Screen Type Kit) |
| G100089-10 | 1/4" FNPT 10 Micron Inlet Filter Kit (Inlet Screen Type Kit) |
|  |  |
| **PR-2 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Standard Stainless Steel/Teflon Lined Diaphragm Assemblies** | |
| G102380 | 10 PSIG |
| G100040 | 25, 50 and 100 PSIG |
| G100042 | 250 PSIG |
| G100044 | 500 PSIG |
| G106338 | 750 PSIG Repair Kit (Includes the Belleville Washers) |
| G106339 | 750 PSIG (Diaphragm Assembly Only) |
| **Stainless Steel/Tefzel Seal Ring Diaphragm Assemblies** | |
| G102381 | 10 PSIG |
| G102382 | 25, 50 and 100 PSIG |
| G102383 | 250 PSIG |
| G102384 | 500 PSIG |
| **Teflon/Viton Diaphragm Assemblies** | |
| G100268 | 10, 25 and 50 PSIG |
| **Poppet, Seat, and Spring Kits** | |
| **Unit's with 0.06 Cv** | |
| G102630 | Tefzel Seat |
| G100316 | High Density Teflon Seat |
| G102635 | Ceramic Filled Teflon Seat |
| G102640 | Polyimide Seat |
| G108112 | PCTFE (Formerly Kel-F) Seat |
| G107869 | PEEK Seat |
| **Unit's with 0.2 Cv** |  |
| G103013 | Tefzel Seat |
| G102650 | Viton Seat |
| G102597 | Ceramic Filled Teflon Seat |
| G109035 | PEEK Seat |
| G106307 | Polyimide Seat |
| G112500 | PCTFE (Formerly Kel-F) Seat |
| **Unit's with 0.025 Cv** | |
| G109808 | Tefzel Seat |
| G109713 | Ceramic Filled Teflon Seat |
| G114098 | PEEK |
| G109714 | Polyimide Seat |
| **Unit's with 0.5 Cv** |  |
| G107846 | Tefzel Seat |
| G107849 | Ceramic Filled Teflon Seat |
| G107847 | Polyimide Seat |
| G107848 | PCTFE (Formerly Kel-F) Seat |
| **Self Relieving Kits and Parts** | |
| G100970 | 0.06 Cv, Tefzel Seat, 0-25 PSIG Kit |
| G100971 | 0.06 Cv, Tefzel Seat, 0-50 PSIG Kit |
| G100972 | 0.06 Cv, Tefzel Seat, 0-100 PSIG Kit |
| G100973 | 0.06 Cv, Tefzel Seat, 0-250 PSIG Kit |
| G100974 | 0.06 Cv, Tefzel Seat, 0-500 PSIG Kit |
| G101000 | SS, 0.2 Cv, Tefzel Seat, 0-25 PSIG |
| G101001 | SS, 0.2 Cv, Tefzel Seat, 0-50 PSIG |
| G101002 | SS, 0.2 Cv, Tefzel Seat, 0-100 PSIG Kit |
| G101003 | SS, 0.2 Cv, Tefzel Seat, 0-250 PSIG Kit |
| G101004 | SS, 0.2 Cv, Tefzel Seat, 0-500 PSIG Kit |
| G100966 | Self Relieving Actuator |
| G100967 | Self Relieving Button |
| G100968 | Self Relieving Button ASSY w/Poppet |
| G106338-SR | 0-750 PSIG Self Relieving Kit (Diaphragm Assy & Belleville Washers |
| G109813 | Self Relieving Poppet S/R 0.2 Cv (Threaded poppet only) |
| **Captured Vent Kits and Parts** | |
| G100863 | Captured Vent BRASS ADJ SCREW |
| G100864 | Captured Vent NYLON SLIP RING |
| G100998 | Captured Vent Black Anodized Aluminum Cap (Cap Only, No Nut) |
| G108940 | Captured Vent Complete Cap Kit - Black Anodized Aluminum |
| **DAP Kits** |  |
| G103470 | 25 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| G103471 | 50 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| G103472 | 100 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| G103473 | 250 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| G103474 | 500 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| **Seats** |  |
| G103688 | Tefzel Seat, 0.06 Cv |
| G103687 | Tefzel Seat, 0.2 Cv |
| G109058 | Tefzel Seat, 0.025 Cv |
| G110286 | Tefzel Seat, 0.5 Cv |
| G101168 | Ceramic Filled Teflon Seat, 0.06 Cv |
| G101169 | Ceramic Filled Teflon Seat, 0.2 Cv |
| G101156 | Polyimide Seat, 0.06 Cv |
| G101157 | Polyimide Seat, 0.2 Cv |
| G101162 | High Density Teflon Seat, 0.06 Cv |
| G101199 | PCTFE (Formerly Kel-F) Seat, 0.06 Cv |
| G103689 | PCTFE (Formerly Kel-F) Seat, 0.2 Cv |
| G110285 | PCTFE (Formerly Kel-F) Seat, 0.5 Cv |
| G110478 | PEEK Seat, 0.06 Cv |
| G110479 | PEEK Seat, 0.2 Cv |
| G110480 | PEEK Seat, 0.5 Cv |
| **Miscellaneous Internal Parts** | |
| G110740 | LOWER FLAT SEAL, PEEK |
| G101167 | LOWER FLAT SEAL, Teflon (Standard used in all units) |
| G106310 | POPPET SPRING Inconel (Standard used in all Stainless Steel and Monel units) |
| G109799 | POPPET, Stainless Steel, 0.025 Cv |
| G100020 | POPPET, Stainless Steel, 0.06 Cv |
| G102598 | POPPET, Stainless Steel, 0.2 Cv |
| G110295 | POPPET, Stainless Steel, 0.5 Cv |
| G110110-11 | POPPET, Stainless Steel, 0.2 Cv (Viton Seat/Insert) |
| G101161 | SEAT HOLDER, Stainless Steel |
| G109801 | SEAT RETAINER, Stainless Steel, 0.025 Cv |
| G102330 | Seat Retainer, Stainless Steel, 0.06 Cv |
| G102331 | Seat Retainer, Stainless Steel, 0.2 Cv |
| G110279 | SEAT RETAINER, Stainless Steel, 0.5 Cv |
| G107331 | TEFZEL SEALING RING, Outer seal ring for Diaphragm |
| G107330 | TEFZEL SEALING RING, Inner seal ring for Diaphragm |
| G110814 | VACUUM ASSIST SPRING |
| **Cap/Bonnet Parts and Range Springs** | |
| G109802-1 | Blue Plastic Knob |
| G103929 | Black Anodized Aluminum CAP only. (Standard for PR-2's) |
| G103931 | Black Anodized Aluminum Panel Mount CAP only. |
| G103638 | Black Anodized Panel Mount Complete CAP Assembly |
| G100034 | Brass Adjusting Screw (Long-Standard) |
| G108087 | PR2 P/M CONVERSION KIT (From Non P/M PR-2 to P/M PR-2) |
| G100890 | Range Spring, 10 AND 25 PSIG (Standard for all PR-1's) |
| G100892 | Range Spring, 100 PSIG (Standard for all PR-1's) |
| G100893 | Range Spring, 250 PSIG (Standard for all PR-1's) |
| G100891 | Range Spring, 50 PSIG (Standard for all PR-1's) |
| G100894 | Range Spring, 500 PSIG (Standard for all PR-1's) |
| G100961 | Range Spring, Nispan 25 PSIG |
| G100963 | Range Spring, Nispan 10 PSIG (For Low inlet pressure (<250 PSIG) units.) |
| **Miscellaneous Parts** | |
| G100388 | MOUNTING BRACKET (Step Type - Bracket Only) |
| G111312 | MOUNTING BRACKET KIT (Includes screws, lock washers, and G100388 bracket) |
| G103596 | 1/4" FNPT 20 Micron Inlet Filter Kit (For Inlet port) |
|  |  |
| **PR-5 Spare Parts** | |
| **Standard Diaphragm Assemblies** | |
| G100268 | 10, 25 and 50 PSIG (Standard Teflon/Viton Diaphragm) |
| G102380 | 10 PSIG (Stainless Steel/Teflon Lined) |
| G100040 | 25, 50 and 100 PSIG (Stainless Steel/Teflon Lined) |
| G103094 | 25, 50 and 100 PSIG (Stainless Steel/Viton Lined) |
| **Stainless steel backed/EPR Lined Diaphragm Assemblies** | |
| G111225 | 10 PSIG |
| G112228 | 100 PSIG |
| G112229 | 250 PSIG |
| **Stainless Steel Backed/Buna Lined Diaphragm Assemblies** | |
| G115080 | 250 PSIG, Complete Kit includes Poppet Assy. with Buna N insert and Teflon/SS Dia Assy. |
| **Stainless Steel/Tefzel Seal Ring Diaphragm Assemblies** | |
| G102381 | 10 PSIG |
| G102382 | 25, 50 and 100 PSIG |
| G102383 | 250 PSIG |
| **Poppet, Seat, and Spring Kits** | |
| G102650 | Viton Seat |
| G107441 | Kalrez Seat |
| G115647 | Kalrez Seat / Monel Poppet |
| G102648 | Viton Seat .2 Cv Complete Kit for 0-100 Self Relieving Regulator Assembly |
| G106292 | Viton Seat .2 Cv Complete Kit for 0-250 Self Relieving Regulator Assembly |
| **Seats** |  |
| G102527 | Stainless Steel (Standard in PR-5) |
| G102528 | Monel |
| G102529 | Hastelloy C |
| **Miscellaneous Internal Parts** | |
| G110110-11 | Poppet Assembly - Viton/SS |
| G110220-11 | Poppet Assembly - Viton/SS (Self Relieving) |
| G110110-31 | Poppet Assembly - Kalrez/SS |
| G110220-31 | Poppet Assembly - Kalrez/SS (Self Relieving) |
| G110110-61 | Poppet Assembly - EPR/SS |
| G101167 | LOWER FLAT SEAL, Teflon (Standard used in all units) |
| G107331 | TEFZEL SEALING RING, Outer seal ring for Diaphragm |
| G107330 | TEFZEL SEALING RING, Inner seal ring for Diaphragm |
| G110814 | VACUUM ASSIST SPRING |
| G086139 | Poppet Spring |
| **Captured Vent Kits and Parts** | |
| G100856 | Captured Vent SS ADJ SCREW |
| G100863 | Captured Vent BRASS ADJ SCREW |
| G100864 | Captured Vent NYLON SLIP RING |
| G100998 | Captured Vent Black Anodized Aluminum Cap (Cap Only, No Nut) |
| G109125 | Captured Vent Complete Cap Kit - Stainless Steel |
| G108940 | Captured Vent Complete Cap Kit - Black Anodized Aluminum |
| **Cap/Bonnet Parts and Range Springs** | |
| G106816 | ADJ SCREW SHORT, Stainless Steel, (For Tamper Proof Units) |
| G106815 | ADJ SCREW, Stainless Steel (Standard Adjusting Screw) |
| G102521 | CAP ASSEMBLY, Complete, Stainless Steel |
| G103029 | CAP ASSEMBLY, For Fine adjust insert. (Insert not included) |
| G102526 | CAP ASSEMBLY, Panel Mount, Complete, Stainless Steel |
| G103920 | CAP, Stainless Steel (Standard Cap) |
| G100687 | Fine Adjust adjusting screw for G103029 Cap Assy |
| G100686 | Fine Adjust insert for G103029 Cap Assy |
| G109802-1 | Blue Plastic Knob |
| G103838 | METAL KNOB, BLUE, Aluminum |
| G103944 | METAL Panel Mount KNOB, BLUE, Aluminum |
| G103929 | Black Anodized Aluminum CAP only. (Brass units.) |
| G103931 | Black Anodized Aluminum Panel Mount CAP only. (Brass units.) |
| G103638 | Black Anodized Panel Mount Complete CAP Assembly (Brass units.) |
| G108087 | Black Anodized Alum. P/M Conversion Kit (Non P/M to P/M brass unit) |
| G100890 | Range Spring, 10 AND 25 PSIG (Standard) |
| G100892 | Range Spring, 100 PSIG (Standard) |
| G100893 | Range Spring, 250 PSIG (Standard) |
| G100891 | Range Spring, 50 PSIG (Standard) |
| G100961 | Range Spring, Nispan 25 PSIG |
| G100963 | Range Spring, Nispan 10 PSIG (For Low inlet pressure (<250 PSIG) units.) |
| **Miscellaneous Parts** | |
| G100388 | MOUNTING BRACKET (Step Type - Bracket Only) |
| G111312 | MOUNTING BRACKET KIT (Includes screws, lock washers, and G100388 bracket) |
| G103596 | 1/4" FNPT 20 Micron Inlet Filter Kit (For Inlet port) |
|  |  |
| **PR-7 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Standard Stainless Steel/Teflon Lined Diaphragm Assemblies** | |
| G100295 | 10, 25, and 50 PSIG (Standard) |
| G100296 | 100 PSIG |
| G100297 | 250 PSIG |
| G100298 | 500 PSIG |
| G100332 | 10, 25, and 50 PSIG (Old Style Screw together diaphragm Assembly) |
| **Monel/Teflon Lined Diaphragm Assemblies** | |
| G100299 | 10, 25, and 50 PSIG |
| G100300 | 100 PSIG |
| G100301 | 250 PSIG |
| G100302 | 500 PSIG |
| **Hastelloy C/Teflon Lined Diaphragm Assemblies** | |
| G100303 | 10, 25, and 50 PSIG |
| G100304 | 100 PSIG |
| G100305 | 250 PSIG |
| G100306 | 500 PSIG |
| **Stainless Steel/Tefzel Seal Ring Diaphragm Assemblies** | |
| G111046 | 10, 25, and 50 PSIG |
| G111047 | 100 PSIG |
| G111048 | 250 PSIG |
| G111049 | 500 PSIG |
| **Stainless Steel/Teflon Lined Self Relieving Diaphragm Assemblies** | |
| G110736 | 10, 25, and 50 PSIG |
| G103882 | 100 PSIG |
| G110737 | 250 PSIG |
| G110738 | 500 PSIG |
| **Miscellaneous PR-7 Diaphragms** | |
| G103795 | Teflon/Viton 10 and 25 PSIG (For 316 SS unit) |
| G103797 | Teflon/Viton 10 and 25 PSIG (For Hastelloy C unit) |
| G111052 | 10, 25, and 50 PSIG Viton lined/SS backed/SS actuator. |
| G111053 | 100 PSIG Viton lined/SS backed/SS actuator. |
| G111054 | 250 PSIG Viton lined/SS backed/SS actuator. |
| **Poppet, Seal and Spring Kits** | |
| G101244 | Teflon Seat (For 316 SS Unit) |
| G101369 | Viton Seat (For 316 SS Unit) |
| G108445 | PEEK Seat (For 316 SS Unit) |
| G112323 | Kalrez Seat (For 316 SS Unit) |
| G112713 | Teflon Seat (For Monel Unit) |
| G114781 | PEEK Seat (For Monel Unit) |
| **Self Relieving Kits and Parts** | |
| G103878 | 10, 25 and 50 PSIG (For 316 SS Unit) (Teflon Seat) |
| G103880 | 100 PSIG (For 316 SS Unit) (Teflon Seat) |
| G103881 | 250 PSIG (For 316 SS Unit) (Teflon Seat) |
| G115447 | 250 PSIG (For 316 SS Unit) ( Viton Seat) |
| G103877 | 10 PSIG (For 316 SS Unit) (Viton Seat) |
| G110202 | POPPET ASSY (316 SS, Teflon Seat) |
| G110734 | POPPET ASSY (316 SS, PEEK Seat) |
| G112755 | 500 PSIG (For 316 SS Unit) (Teflon Seat), Diaphragm not included in this kit. |
| **Captured Vent Kits and Parts** | |
| G106801 | Captured Vent Conversion KIT, Aluminum |
| G110144 | Captured Vent CAP only, Aluminum |
| G106802 | Captured Vent Conversion KIT, SS |
| **Miscellaneous Internal Parts** | |
| G086102 | SS POPPET SPRING (Standard Poppet Spring for all Brass & SS Units) |
| G100386 | Large Under Diaphragm Spring (Standard for all Brass and SS Units) |
| G109436 | Hastelloy C Large Under Diaphragm Spring |
| G086112 | Small Under Diaphragm Spring (Standard for all Brass and SS Units) |
| G100814 | SEAT 316 SS (Standard for all Brass and SS Units) |
| G100815 | Seat Monel (Standard for Monel Units) |
| G110184 | POPPET Assembly (Teflon Seat) (For Brass and SS Units) |
| G110689 | Poppet Assembly (PEEK Seat) (For Brass and SS Units) |
| G110204 | Poppet Assembly (Kalrez Seat) (For Brass and SS Units) |
| G110186 | Poppet Assembly (Teflon Seat) (For Monel units) |
| G107334 | TEFZEL Outer Sealing Ring for Diaphragms with Tefzel Seal Rings. |
| **Cap/Bonnet Parts and Range Springs** | |
| G109802-1 | Blue Plastic Knob |
| G101746 | PR7 SS ADJUSTING SCREW |
| G103594 | PR7 P/M CAP KIT |
| G100287 | BELLEVILLE SPRING KIT FOR PR7 |
| G103903 | PR7 Stainless Steel Cap |
| G103904 | PR7 Stainless Steel Cap with Panel Mount option (P/M Nuts not included) |
| G106802 | PR7 Stainless Steel Captured Vent Cap Conversion Kit |
| G103838 | METAL KNOB, BLUE, Aluminum |
| G103944 | METAL Panel Mount KNOB, BLUE, Aluminum |
| G100891 | Range Spring, 10 PSIG (Standard for all PR-7's) |
| G100892 | Range Spring, 25 PSIG (Standard for all PR-7's) |
| G100893 | Range Spring, 50 PSIG (Standard for all PR-7's) |
| G100894 | Range Spring, 100 and 250 PSIG (Standard for all PR-7's) |
| G107538 | Range Spring STABILIZER |
| G108868 | FOAM DAMPNER |
|  |  |
| **PR-7LF Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Teflon/Viton Diaphragm Assemblies** | |
| G103844 | 6 and 25 PSIG Teflon faced Viton backed (For use in SS and Brass units) |
| G103793 | 6 and 25 PSIG Teflon faced Viton backed (Monel Actuator for Monel units.) |
| G103794 | 6 and 25 PSIG Teflon faced Viton backed (Hast C Actuator for Hast C units.) |
| G111232 | 6 and 25 PSIG Teflon faced Viton backed (For use in SS and Brass units with Self Relieving) |
| **Teflon/Stainless Steel Diaphragm Assemblies** | |
| G110620 | 6, 25 and 50 PSIG (For use in SS and Brass units) |
| G110862 | 75 and 125 PSIG (Standard for SS and Brass units) |
| G110863 | 250 PSIG (Standard for SS and Brass units) |
| G110738 | 0-500 PSIG, SS and Brass units with Self Relieving option (Does not include Belleville washers) |
| G115118 | 0-500 PSIG, SS and Brass standard units. (Does not include Belleville washers.) |
| **Viton/Stainless Steel Diaphragm Assemblies** | |
| G111213 | 6, 25 and 50 PSIG (For use in SS and Brass units) |
| G111214 | 75 and 125 PSIG (For use in SS and Brass units) |
| G111215 | 250 PSIG (For use in SS and Brass units) |
| **Monel/Teflon Lined Diaphragm Assemblies** | |
| G110621 | 6, 25 and 50 PSIG |
| G110864 | 75 and 125 PSIG |
| G110865 | 250 PSIG |
| **Hastelloy C/Teflon Lined Diaphragm Assemblies** | |
| G110622 | 6, 25 and 50 PSIG |
| G110866 | 75 and 125 PSIG |
| G110867 | 250 PSIG |
| **Stainless Steel/Tefzel Seal Ring Diaphragm Assemblies** | |
| G111216 | 6, 25 and 50 PSIG (For use in SS and Brass units) |
| G111217 | 75 and 125 PSIG (For use in SS and Brass units) |
| G111218 | 250 PSIG (For use in SS and Brass units) |
| **PR7LF Series Poppet Kits** | |
| **316 SS PR-7LF's with 0.06 Cv** | |
| G102630 | Tefzel Seat |
| G100316 | High Density Teflon Seat |
| G102635 | Ceramic Filled Teflon Seat |
| G102640 | Polyimide Seat |
| G108112 | PCTFE (Formerly Kel-F) Seat |
| G107869 | PEEK Seat |
| **316 SS PR-7LF's with 0.2 Cv (Polymeric Seat)** | |
| G103013 | Tefzel Seat |
| G102597 | Ceramic Filled Teflon Seat |
| G109035 | PEEK Seat |
| G106307 | Polyimide Seat |
| G112500 | PCTFE (Formerly Kel-F) Seat |
| **316 SS PR-7LF's with 0.2 Cv (Elastomeric Seat)** | |
| G107861 | Viton Seat |
| G107441 | Kalrez Seat |
| **316 SS PR-7LF's with 0.025 Cv** | |
| G112193 | Tefzel Seat |
| G109713 | Ceramic Filled Teflon Seat |
| G109714 | Polyimide Seat |
| **316 SS PR-7LF's with 0.5 Cv** | |
| G107846 | Tefzel Seat |
| G107849 | Ceramic Filled Teflon Seat |
| G107847 | Polyimide Seat |
| G107848 | PCTFE (Formerly Kel-F) Seat |
| **Monel PR-7LF's** |  |
| G102631 | Tefzel Seat, 0.06 Cv |
| G102636 | Ceramic Filled Teflon Seat, 0.06 Cv |
| G102641 | Polyimide Seat, 0.06 Cv |
| G112204 | PEEK Seat, 0.06 Cv |
| G112860 | PCTFE (Formerly Kel-F) Seat, 0.06 Cv |
| G102649 | Tefzel Seat, 0.2 Cv |
| G107893 | Ceramic Filled Teflon Seat, 0.2 Cv |
| **Hastelloy C PR-7LF's** | |
| G102634 | Tefzel Seat, 0.06 Cv |
| G102639 | Ceramic Filled Teflon Seat, 0.06 Cv |
| G102644 | Polyimide Seat, 0.06 Cv |
| G112491 | PCTFE (Formerly Kel-F) Seat, 0.06 Cv |
| G112893 | Tefzel Seat, 0.025 Cv |
| G112894 | Tefzel Seat, 0.5 Cv |
| G107835 | Tefzel Seat, 0.2 Cv |
| **Self Relieving Kits and Parts** | |
| G109870 | 6 and 25 PSIG Complete Kit |
| G109871 | 50 PSIG Complete Kit |
| G109872 | 75 and 125 PSIG Complete Kit |
| **Miscellaneous Internal Parts** | |
| G103839 | SUB SEAT - Stainless Steel |
| G107548 | SUB SEAT - Monel |
| G109432 | SUB SEAT - Hastelloy C |
| G103841 | POPPET SPRING SPACER (Standard for all Brass and SS Units) |
| G109801 | SEAT RETAINER, Stainless Steel, 0.025 Cv |
| G102330 | Seat Retainer, Stainless Steel, 0.06 Cv |
| G102331 | Seat Retainer, Stainless Steel, 0.2 Cv |
| G110279 | SEAT RETAINER, Stainless Steel, 0.5 Cv |
| G109799 | POPPET, Stainless Steel, 0.025 Cv |
| G100020 | POPPET, Stainless Steel, 0.06 Cv |
| G102598 | POPPET, Stainless Steel, 0.2 Cv |
| G110295 | POPPET, Stainless Steel, 0.5 Cv |
| G100386 | Under Diaphragm Spring (Standard for all Brass and SS Units) |
| G107334 | TEFZEL Outer Sealing Ring for Diaphragms with Tefzel Seal Rings. |
| G103596 | 1/4" FNPT 20 Micron Inlet Filter Kit (For Inlet port) |
| **Cap/Bonnet Parts and Range Springs** | |
| G109802-1 | Blue Plastic Knob |
| G101746 | SS ADJUSTING SCREW |
| G103594 | P/M CAP KIT |
| G103903 | Stainless Steel Cap |
| G103904 | Stainless Steel Cap with Panel Mount option (P/M Nuts not included) |
| G103940 | Stainless Steel Cap for Fine Adjustment Option |
| G100686 | Fine Adjustment Mounting Sleeve |
| G100687 | Adjusting Screw for Fine Adjust option |
| G070001 | Fine Adjustment Black Knob |
| G103838 | METAL KNOB, BLUE, Aluminum |
| G103944 | METAL Panel Mount KNOB, BLUE, Aluminum |
| G100890 | Range Spring, 6 PSIG |
| G100891 | Range Spring, 25 PSIG |
| G100892 | Range Spring, 50 and 75 PSIG |
| G100893 | Range Spring, 125 PSIG |
| G100894 | Range Spring, 250 PSIG |
|  |  |
| **PR-7ULF Spare Parts** | |
| **Standard Diaphragm Assemblies** | |
| G110758 | 6 and 25 PSIG Viton Only (SS Actuator) |
| G110757 | 6, 25, and 50 PSIG Stainless Steel with Tefzel Seal Ring (SS Actuator) |
| G112262 | 100 PSIG Stainless Steel with Tefzel Seal Ring (SS Actuator) |
| **PR-7ULF Series Poppet/Seat Assembly** | |
| G094019 | Viton Seal |
| **Miscellaneous Internal Parts** | |
| G110104 | Sub Seat (Stainless Steel) |
| G082405 | Teflon O-ring seal for Sub Seat |
| G103596 | 1/4" FNPT 20 Micron Inlet Filter Kit (For Inlet port) |
| **Cap/Bonnet Parts and Range Springs** | |
| G110151 | Aluminum Cap for Fine Adjustment Option |
| G100687 | Adjusting Screw for Fine Adjust option |
| G070001 | Fine Adjustment Black Knob |
| G100963 | Range Spring, 6 PSIG |
| G100890 | Range Spring, 25 PSIG |
| G100891 | Range Spring, 50 PSIG |
| G100893 | Range Spring, 100 PSIG |
|  |  |
| **PR-9 Spare Parts** | |
| **650 Degree F Diaphragm Assemblies (0.06 Cv Units)** | |
| G101586 | 25 PSIG |
| G101587 | 50 PSIG |
| G101588 | 100 PSIG |
| G101555 | 250 PSIG |
| **650 Degree F Diaphragm Assemblies (0.2 Cv Units)** | |
| G112690 | 250 PSIG |
| **1000 Degree F Diaphragm Assemblies (0.06 Cv Units)** | |
| G103285 | 25 and 50 PSIG |
| G103286 | 100 PSIG |
| G115164 | 250 PSIG |
| **1000 Degree F Diaphragm Assemblies (0.2 Cv Units)** | |
| G115227 | 25, 50, and 100 PSIG |
| **PR-9 Seat and Seal Kit** | |
| G101556 | PR9 Ball, Seat, Seal and Spring Kit 0.06 Cv (347 Stainless Steel) |
| G113056 | PR9 Ball, Seat, Seal and Spring Kit 0.2 Cv (347 Stainless Steel) |
| **Miscellaneous Internal Parts** | |
| G101594 | Poppet/Ball Spring - Inconel |
| G010200 | Carbide Ball/Poppet |
| G101563 | Seat Only (347 SS) |
| G112690 | Diaphragm Assembly 250 PSIG, (For 0.2 Cv Unit, 650 deg F) |
| **Cap/Bonnet Parts and Range Springs** | |
| G103920 | CAP, Stainless Steel |
| G101568 | Adjusting Screw |
| G107395 | Welded Range Spring Assembly, 25 PSIG (650 Degree F Unit) |
| G107396 | Welded Range Spring Assembly, 50 PSIG (650 Degree F Unit) |
| G107397 | Welded Range Spring Assembly, 100 PSIG (650 Degree F Unit) |
| G107398 | Welded Range Spring Assembly, 250 PSIG (650 Degree F Unit) |
| G107392 | Welded Range Spring Assembly, 25 and 50 PSIG (1000 Degree F Unit) |
| G107394 | Welded Range Spring Assembly, 100 PSIG (1000 Degree F Unit) |
| G111081 | Welded Range Spring Assembly, 250 PSIG (1000 Degree F Unit) |
| **Miscellaneous Parts** | |
| G100388 | MOUNTING BRACKET (Step Type - Bracket Only) |
| G111312 | MOUNTING BRACKET KIT (Includes screws, lock washers, and G100388 bracket) |
|  |  |
| **PR-11 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies** | |
| G109857 | 10, 25, and 50 PSIG |
| G109858 | 100 and 250 PSIG |
| G109859 | 500 PSIG |
| **Viton/Teflon Lined Diaphragm Assembly** | |
| G109862 | 10, 25, and 50 PSIG |
| **Self Relieving Diaphragm Assemblies** | |
| G110710 | 10, 25, and 50 PSIG (Stainless Steel/Teflon Lined) |
| G110711 | 100 and 250 PSIG (Stainless Steel/Teflon Lined) |
| G110712 | 500 PSIG (Stainless Steel/Teflon Lined) |
| G110713 | 10, 25, and 50 PSIG (Viton/Teflon) |
| **Poppet, Seat, and Spring Kits** | |
| **PR-11's with 0.06 Cv** | |
| G102630 | Tefzel Seat |
| G100316 | High Density Teflon Seat |
| G102635 | Ceramic Filled Teflon Seat |
| G102640 | Polyimide Seat |
| G108112 | PCTFE (Formerly Kel-F) Seat |
| G107869 | PEEK Seat |
| **PR-11's with 0.2 Cv** | |
| G103013 | Tefzel Seat |
| G102597 | Ceramic Filled Teflon Seat |
| G109035 | PEEK Seat |
| G106307 | Polyimide Seat |
| G112500 | PCTFE (Formerly Kel-F) Seat |
| G102650 | Viton Seat |
| **PR-11's with 0.025 Cv** | |
| G109808 | Tefzel Seat |
| G109713 | Ceramic Filled Teflon Seat |
| G109714 | Polyimide Seat |
| **PR-11 Self Relieving Kits and Parts** | |
| G112570 | 100 and 250 PSIG Complete Kit |
| G115205 | 0-250 PSIG, 0.025 Cv CF Teflon Seat (Complete S/R Kit with Diaphragm Assy.) |
| G110707 | SS Poppet, 0.06 Cv |
| G110708 | SS Poppet, 0.2 Cv |
| G110709 | SS Poppet, 0.025 Cv |
| **PR-11 Seats** |  |
| G103688 | Tefzel Seat, 0.06 Cv |
| G103687 | Tefzel Seat, 0.2 Cv |
| G109058 | Tefzel Seat, 0.025 Cv |
| G101168 | Ceramic Filled Teflon Seat, 0.06 Cv |
| G101169 | Ceramic Filled Teflon Seat, 0.2 Cv |
| G101156 | Polyimide Seat, 0.06 Cv |
| G101157 | Polyimide Seat, 0.2 Cv |
| G101162 | High Density Teflon Seat, 0.06 Cv |
| G101199 | PCTFE (Formerly Kel-F) Seat, 0.06 Cv |
| G103689 | PCTFE (Formerly Kel-F) Seat, 0.2 Cv |
| G110478 | PEEK Seat, 0.06 Cv |
| G110479 | PEEK Seat, 0.2 Cv |
| **Miscellaneous Internal Parts** | |
| G101167 | LOWER FLAT SEAL, Teflon (Standard used in all units) |
| G106310 | POPPET SPRING Inconel |
| G086139 | POPPET SPRING, (For Viton Poppet units) |
| G109799 | POPPET, Stainless Steel, 0.025 Cv |
| G100020 | POPPET, Stainless Steel, 0.06 Cv |
| G102598 | POPPET, Stainless Steel, 0.2 Cv |
| G110110-11 | POPPET, Stainless Steel, 0.2 Cv (Viton Insert) |
| G102527 | Seat, Stainless Steel, 0.2 Cv (For Viton Poppet units) |
| G101161 | SEAT HOLDER, Stainless Steel (0.06 and 0.2 Cv) |
| G103136 | SEAT HOLDER, Stainless Steel (0.025 Cv) |
| G109801 | SEAT RETAINER, Stainless Steel, 0.025 Cv |
| G102330 | Seat Retainer, Stainless Steel, 0.06 Cv |
| G102331 | Seat Retainer, Stainless Steel, 0.2 Cv |
| **Cap/Bonnet Parts and Range Springs** | |
| G100700 | Cap Assembly - Black Anodized Aluminum |
| G070001 | BLACK KNOB |
| G100686 | Optional MOUNTING SLEEVE for Fine Adjust |
| G100687 | ADJUSTING SCREW |
| G100711 | PANEL MOUNT NUT |
| G110519 | MINI GO LOGO |
| G100890 | Range Spring, 10 AND 25 PSIG |
| G100891 | Range Spring, 50 PSIG |
| G100892 | Range Spring, 100 PSIG |
| G100893 | Range Spring, 250 PSIG |
| G100894 | Range Spring, 500 PSIG |
| **Miscellaneous Parts** | |
| G100388 | MOUNTING BRACKET (Step Type - Bracket Only) |
| G111312 | MOUNTING BRACKET KIT (Includes screws, lock washers, and G100388 bracket) |
| G103596 | 1/4" FNPT 20 Micron Inlet Filter Kit (For Inlet port) |
|  |  |
| **CPR-1 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Standard Stainless Steel Diaphragm Assemblies** | |
| G110005 | 10, 25, and 50 PSIG |
| G110006 | 100 and 250 PSIG |
| G110007 | 500 PSIG |
| **Stainless Steel/Teflon Lined (optional)** | |
| G111097 | 10, 25, and 50 PSIG |
| G111098 | 100 and 250 PSIG |
| G111099 | 500 PSIG |
| **Teflon Lined Viton Backed Diaphragm Assembly** | |
| G110674 | 10, 25, and 50 PSIG (For SS Units) |
| **CPR-1 Series Replacement Kits** | |
| **0.06 Cv, Tefzel Seat (Poppet Kit and Diaphragm Assembly)** | |
| G103725 | 10, 25 and 50 PSIG |
| G103726 | 100 and 250 PSIG |
| G103727 | 500 PSIG |
| **Miscellaneous Poppet Kits** | |
| G115193 | 10, 25 and 50 PSIG, 0.2 Cv Tefzel Seat. (Poppet Kit and Diaphragm Assembly in this kit.) |
| G102139 | 0.025 Cv Tefzel Poppet Kit Only (Diaphragm Assembly not included in this kit.) |
| G107181 | 0.06 Cv Tefzel Poppet Kit Only (Diaphragm Assembly not included in this kit.) |
| **Seats** |  |
| G103688 | Tefzel Seat, 0.06 Cv |
| G103687 | Tefzel Seat, 0.2 Cv |
| G109058 | Tefzel Seat, 0.025 Cv |
| G101156 | Polyimide Seat, 0.06 Cv |
| G101157 | Polyimide Seat, 0.2 Cv |
| G101162 | High Density Teflon Seat, 0.06 Cv |
| G101199 | PCTFE (Formerly Kel-F) Seat, 0.06 Cv |
| G103689 | PCTFE (Formerly Kel-F) Seat, 0.2 Cv |
| G110478 | PEEK Seat, 0.06 Cv |
| G110479 | PEEK Seat, 0.2 Cv |
| **Miscellaneous Internal Parts** | |
| G101167 | LOWER FLAT SEAL, Teflon (Standard used in all units) |
| G106310 | POPPET SPRING Inconel (Standard used in all Stainless Steel and Monel units) |
| G110264 | POPPET, Stainless Steel, 0.025 Cv |
| G110022 | POPPET, Stainless Steel, 0.06 Cv |
| G110219 | POPPET, Stainless Steel, 0.2 Cv |
| G101161 | SEAT HOLDER, Stainless Steel |
| G109801 | SEAT RETAINER, Stainless Steel, 0.025 Cv |
| G102330 | Seat Retainer, Stainless Steel, 0.06 Cv |
| G102331 | Seat Retainer, Stainless Steel, 0.2 Cv |
| G107330 | TEFZEL SEALING RING, Inner seal ring for Diaphragm |
| G107698 | Diaphragm Slip Ring - Nylon Standard |
| G110310 | Diaphragm Slip Ring BLACK POLYIMIDE for High Temp |
| G112407 | Poppet, Seat and Spring Kit, PCTFE .06Cv Seat |
| 58-025-45 | Viton Body Cavity O-ring |
| 58-025-76 | Teflon Body Cavity O-ring |
| G101364 | 1/8" FNPT 40 Micron Inlet Filter Kit |
| **Cap/Bonnet Parts and Range Springs** | |
| G110837 | Cap, Black Anodized Aluminum Standard |
| G110882 | Cap, Black Anodized Aluminum Panel Mount |
| G114674 | Captured Vent, SS, Tamper Proof Cap Assembly (Same for LG, MV, and CPR) |
| G106174 | Tamper Proof Nut |
| G106179 | Tamper Proof Short Adjusting Screw Brass |
| G106184 | KNOB, Black Anodized Aluminum |
| G106186 | Adjusting Screw Standard, Brass |
| G018108 | Set Screw for Knob |
| G100890 | Range Spring, 10 AND 25 PSIG |
| G100892 | Range Spring, 100 PSIG |
| G100893 | Range Spring, 250 PSIG |
| G100891 | Range Spring, 50 PSIG |
| G100894 | Range Spring, 500 PSIG |
| **Miscellaneous Parts** | |
| G100388 | MOUNTING BRACKET (Step Type - Bracket Only) |
| G111312 | MOUNTING BRACKET KIT (Includes screws, lock washers, and G100388 bracket) |
|  |  |
| **CPR-5 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Standard Stainless Steel Diaphragm Assemblies** | |
| G110005 | 10, 25, and 50 PSIG |
| G110006 | 100 and 250 PSIG |
| **Stainless Steel/Teflon Lined (optional)** | |
| G111097 | 10, 25, and 50 PSIG |
| G111098 | 100 and 250 PSIG |
| **Teflon Lined Viton Backed Diaphragm Assembly** | |
| G110674 | 10, 25, and 50 PSIG (For SS Units) |
| **CPR-5 Series Replacement Kits (Poppet Kit and Diaphragm Assembly)** | |
| G103697 | 10, 25 and 50 PSIG (0.2 Cv, Viton Seat) |
| G103698 | 100 and 250 PSIG (0.2 Cv, Viton Seat) |
| G103640 | 10, 25 and 50 PSIG (0.2 Cv, Kalrez Seat) |
| **Miscellaneous Internal Parts** | |
| G101167 | LOWER FLAT SEAL, Teflon (Standard used in all units) |
| G107330 | TEFZEL SEALING RING, Inner seal ring for Diaphragm |
| G107698 | Diaphragm Slip Ring - Nylon Standard |
| G110310 | Diaphragm Slip Ring BLACK POLYIMIDE for High Temp |
| 58-025-45 | Viton Body Cavity O-ring |
| 58-025-76 | Teflon Body Cavity O-ring |
| G107182 | Poppet Kit, Viton 0.2 Cv |
| G110124-11 | Poppet Assembly, Viton (For Stainless Steel Unit) |
| G110124-31 | Poppet Assembly, Kalrez (For Stainless Steel Unit) |
| G102527 | Seat, Stainless Steel |
| G086139 | Poppet Spring |
| G101364 | 1/8" FNPT 40 Micron Inlet Filter Kit |
| **Cap/Bonnet Parts and Range Springs** | |
| G110837 | Cap, Black Anodized Aluminum Standard |
| G106174 | Tamper Proof Nut |
| G106179 | Tamper Proof Short Adjusting Screw Brass |
| G106184 | KNOB, Black Anodized Aluminum |
| G106186 | Adjusting Screw Standard, Brass |
| G018108 | Set Screw for Knob |
| G100890 | Range Spring, 10 AND 25 PSIG |
| G100892 | Range Spring, 100 PSIG |
| G100893 | Range Spring, 250 PSIG |
| G100891 | Range Spring, 50 PSIG |
| G100894 | Range Spring, 500 PSIG |
| **Miscellaneous Parts** | |
| G100388 | MOUNTING BRACKET (Step Type - Bracket Only) |
| G111312 | MOUNTING BRACKET KIT (Includes screws, lock washers, and G100388 bracket) |
|  |  |
| **LG-1 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Standard Stainless Steel Diaphragm Assemblies** | |
| G110937 | 10, 25, and 50 PSIG (For 0.025 Cv units) |
| G110938 | 100 and 250 PSIG (For 0.025 Cv units) |
| G110948 | 500 PSIG (For 0.025 Cv units) |
| G110949 | 10, 25, and 50 PSIG (For 0.06 Cv units) |
| G110950 | 100 and 250 PSIG (For 0.06 Cv units) |
| G110951 | 500 PSIG (For 0.06 Cv units) |
| **Monel (optional)** |  |
| G111385 | 10, 25, 50 and 100 PSIG (For 0.025 Cv units) |
| G111386 | 250 and 500 PSIG (For 0.025 Cv units) |
| G111387 | 10, 25, 50 and 100 PSIG (For 0.06 Cv units) |
| G111388 | 250 and 500 PSIG (For 0.06 Cv units) |
| **LG-1 Poppet Kits** | |
| G112496 | Tefzel Seat, 0.025 Cv |
| G112677 | Tefzel Seat, 0.06 Cv |
| G113546 | PCTFE (Kel-F) 0.06 Cv |
| G114920 | PCTFE (Kel-F) 0.025 Cv |
| G113002 | PEEK Seat, 0.025 Cv |
| G114849 | Polyimide Seat, 0.025 Cv |
| **Miscellaneous Internal Parts** | |
| G110831 | POPPET .025 CV SS |
| G101167 | LOWER FLAT SEAL, Teflon (Standard used in all units) |
| G107330 | TEFZEL SEALING RING, Inner seal ring for Diaphragm |
| G107698 | Diaphragm Slip Ring - Nylon Standard |
| G110310 | Diaphragm Slip Ring BLACK POLYIMIDE for High Temp |
| 58-025-45 | Viton Body Cavity O-ring |
| 58-025-76 | Teflon Body Cavity O-ring |
| G086146 | Poppet Spring |
| G101364 | 1/8" FNPT 40 Micron Inlet Filter Kit |
| **Cap/Bonnet Parts and Range Springs** | |
| G110834 | Bonnet, SS |
| G110837 | Bonnet, ALUM |
| G110881 | Panel Mount Bonnet, SS |
| G110882 | Panel Mount Bonnet, ALUM |
| G111003 | Adjusting Screw , Standard |
| G111004 | Knob, Standard |
| G018253 | Set Screw for Standard Knob |
| G110939 | Tamper Proof Adjusting Screw |
| G106174 | Tamper Proof Nut |
| G110870 | T-Handle Adjusting Assembly |
| G107683 | Panel Mount Nut |
| G100286 | Panel Mount Washer |
| G100890 | Range Spring, 10 AND 25 PSIG |
| G100892 | Range Spring, 100 PSIG |
| G100893 | Range Spring, 250 PSIG |
| G100891 | Range Spring, 50 PSIG |
| G100894 | Range Spring, 500 PSIG |
| G114674 | Captured Vent, SS, Tamper Proof Cap Assembly (Same for LG, MV, and CPR) |
|  |  |
| **SPR Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Teflon lined/Metal Backed Diaphragm Assemblies** | |
| G110620 | 1-30 PSIA (SS Backing For use in SS and Brass units) |
| G110621 | 1-30 PSIA (Inconel Backing for use in Monel units) |
| G110622 | 1-30 PSIA PSIG (Hastelloy C Backing for use in Hastelloy C units) |
| **Stainless Steel/Tefzel Seal Ring Diaphragm Assembly** | |
| G111216 | 1-30 PSIA (For use in SS and Brass units) |
| **Teflon/Viton Diaphragm Assemblies** | |
| G103844 | 1-30 PSIA Teflon faced Viton backed (For use in SS and Brass units) |
| G103793 | 1-30 PSIA Teflon faced Viton backed (Monel Actuator for Monel units.) |
| G103794 | 1-30 PSIA PSIG Teflon faced Viton backed (Hast C Actuator for Hast C units.) |
| **Viton/Stainless Steel Diaphragm Assemblies** | |
| G111213 | 1-30 PSIA (For use in SS and Brass units) |
| **SPR Series Poppet Kits** | |
| **316 SS or Brass SPR's (Polymeric Seats)** | |
| G102630 | Tefzel Seat (0.06 Cv) |
| G112193 | Tefzel Seat (0.025 Cv) |
| G103013 | Tefzel Seat (0.2 Cv) |
| **316 SS or Brass with 0.2 Cv (Elastomeric Seat)** | |
| G108640 | Viton Seat |
| G108639 | Kalrez Seat |
| **Monel SPR's** |  |
| G102631 | Tefzel Seat, 0.06 Cv |
| G102649 | Tefzel Seat, 0.2 Cv |
| **Hastelloy C SPR's** | |
| G102634 | Tefzel Seat, 0.06 Cv |
| G112893 | Tefzel Seat, 0.025 Cv |
| G107835 | Tefzel Seat, 0.2 Cv |
| **SPR Miscellaneous Internal Parts** | |
| G103839 | SUB SEAT - Stainless Steel |
| G107548 | SUB SEAT - Monel |
| G109432 | SUB SEAT - Hastelloy C |
| G082405 | Sub Seat Seal - Teflon |
| G102527 | Seat SS (Standard for all Brass and SS Units with Elastomeric Seal in poppet) |
| G103841 | POPPET SPRING SPACER (Standard for all Brass and SS Units) |
| G109801 | SEAT RETAINER, Stainless Steel, 0.025 Cv |
| G102330 | Seat Retainer, Stainless Steel, 0.06 Cv |
| G102331 | Seat Retainer, Stainless Steel, 0.2 Cv (Polymeric Seats only) |
| G109799 | POPPET, Stainless Steel, 0.025 Cv (Polymeric Seats only) |
| G100020 | POPPET, Stainless Steel, 0.06 Cv (Polymeric Seats only) |
| G102598 | POPPET, Stainless Steel, 0.2 Cv (Polymeric Seats only) |
| G110110-31 | POPPET, Stainless Steel, 0.2 Cv (Elastomeric Kalrez Seat in Poppet) |
| G100386 | Under Diaphragm Spring (Standard for all Brass and SS Units) Larger spring |
| G106604 | Vacuum Assist Spring (Standard for all Brass and SS Units) Smaller spring. |
| G103596 | 1/4" FNPT 20 Micron Inlet Filter Kit (For Inlet port) |
| G107334 | TEFZEL Outer Sealing Ring for Diaphragms with Tefzel Seal Rings. |
| **SPR Cap/Bonnet Parts and Range Springs** | |
| G109802-1 | Blue Plastic Knob |
| G103594 | P/M CAP KIT |
| G103903 | Stainless Steel Cap |
| G103904 | Stainless Steel Cap with Panel Mount option (P/M Nuts not included) |
| G103940 | Stainless Steel Cap for Fine Adjustment Option |
| G100686 | Fine Adjustment Mounting Sleeve |
| G101746 | Adjusting Screw (Standard) |
| G100687 | Adjusting Screw for Fine Adjust option |
| G070001 | Fine Adjustment Black Knob |
| G100891 | Range Spring, 1-30 PSIA |
|  |  |
| **PR-50 Spare Parts** | |
| **Diaphragm Assemblies (For SS and Brass units)** | |
| **Nylon Faced (No Backing) (Non Self Relieving Type Units)** | |
| G102373 | All Ranges (with Viton diaphragm o-rings.) (No Cavity O-ring) |
| G102326 | All Ranges (with Viton diaphragm o-rings, including Viton Cavity O-ring) |
| G111086 | All Ranges (with Teflon o-rings.) |
| **Teflon Faced (No Backing) (Non Self Relieving Type Units)** | |
| G112319 | All Ranges (with Teflon o-rings.) |
| **301 SS Facing/Nylon Backing (Non Self Relieving Type Units)** | |
| G102378 | All Ranges (with Viton diaphragm o-rings.) (No Cavity O-ring) |
| G102389 | All Ranges (with Viton diaphragm o-rings, including Viton Cavity O-ring) |
| G111090 | All Ranges (with Teflon o-rings.) |
| **301 SS Facing/Teflon Backing (Non Self Relieving Type Units)** | |
| G115454 | All Ranges (with Teflon Diaphragm O-rings.) (Teflon Cavity O-ring) |
| **Nylon Facing No Backing (Self Relieving Type Units)** | |
| G102419 | All Ranges (with Viton o-rings.) |
| G111088 | All Ranges (with Teflon o-rings.) |
| **301 Facing/Nylon Backing (Self Relieving Type Units)** | |
| G102420 | All Ranges (with Viton o-rings.) (No Cavity Ring) |
| G111083 | All Ranges (with Teflon o-rings.) |
| **PR-50 Series Diaphragm Assemblies (For Monel units)** | |
| **Nylon Facing No Backing (Self Relieving Type Units)** | |
| G102421 | All Ranges (with Viton o-rings.) |
| G111089 | All Ranges (with Teflon o-rings.) |
| **Inconel Facing/Nylon Backing (Non Self Relieving Type Units)** | |
| G102379 | All Ranges (with Viton o-rings.) |
| G111091 | All Ranges (with Teflon o-rings.) |
| **Inconel Facing/Nylon Backing (Self Relieving Type Units)** | |
| G102422 | All Ranges (with Viton o-rings.) |
| G111084 | All Ranges (with Teflon o-rings.) |
| **Nylon Facing No Backing (Non Self Relieving Type Units)** | |
| G102374 | All Ranges (with Viton o-rings.) |
| G111087 | All Ranges (with Teflon o-rings.) |
| **PR-50 Series Repair Kits** | |
| G101143 | 0.06 Cv, Polyimide Seat, Viton Cavity o-ring (Non S/R units) |
| G101143-SR | 0.06 Cv, Polyimide Seat, Viton Cavity o-ring. (Self Relieving S/R units) |
| G115455 | 0.2 Cv, Polyimide Seat, Teflon Cavity o-ring. (Non S/R units) |
| G103760 | 0.2 Cv, Polyimide Seat, Viton Cavity o-ring. (Non S/R units) |
| G103760-SR | 0.2 Cv, Polyimide Seat, Viton Cavity o-ring. (Self Relieving units) |
| G106665 | 0.06 Cv, Tefzel Seat, Viton Cavity o-ring, (Non S/R units) |
| G106665-SR | 0.06 Cv, Tefzel Seat, Viton Cavity o-ring, (Self Relieving units) |
| G101124 | 0.06 Cv, Polyimide Seat, Lower Flat seal, and Viton Cavity ring only. |
| G112149 | 0.06 Cv, Polyimide Seat, Teflon Cavity o-ring. (Non S/R units) |
| G115652 | 0.06 Cv, PCTFE Seat, Teflon Cavity o-ring (Non S/R units) |
| G112271 | 0.2 Cv, PCTFE Seat, Teflon Cavity o-ring (Non S/R units) |
| G112272 | 0.2 Cv, PEEK Seat, Teflon Cavity o-ring (Non S/R units) |
| G112318 | 0.06 Cv, PEEK Seat, Viton Cavity o-ring (non S/R units) |
| G112573 | 0.2 Cv, Tefzel Seat, Viton Cavity o-ring (Non S/R units) |
| G115361 | 0.06 Cv, High Density Teflon Seat, Viton Cavity o-ring (Non S/R units) |
| G113650 | 0.2 Cv, High Density Teflon Seat, Viton Cavity o-ring (Non S/R units) |
| G115565 | 0.025 Cv, HD Teflon Seat, Teflon Cavity o-ring (Non S/R units) |
| G115566 | 0.025 Cv, Tefzel Seat, Teflon Cavity o-ring (Non S/R units) |
| G112574 | 0.025 Cv, Tefzel Seat, Viton Cavity o-ring (Non S/R units) |
| G112574-SR | 0.025 Cv, Tefzel Seat, Viton Cavity o-ring (Self Relieving units) |
| G115042-SR | 0.2 Cv, HD Teflon Seat, Teflon Cavity o-ring. (Self Relieving units) |
| **PR-50 Miscellaneous Internal Parts** | |
| G101485 | 0.2 Cv Seat Retainer Stainless Steel |
| G101160 | 0.06 Cv Seat Retainer Stainless Steel |
| G111095 | 0.025 Cv Seat Retainer Stainless Steel |
| G102319 | Stainless Steel Diaphragm Liner |
| G110108 | POLYIMIDE Diaphragm Liner |
| G103688 | Tefzel Seat, 0.06 Cv |
| G103687 | Tefzel Seat, 0.2 Cv |
| G109058 | Tefzel Seat, 0.025 Cv |
| G101156 | Polyimide Seat, 0.06 Cv |
| G101157 | Polyimide Seat, 0.2 Cv |
| G109060 | Polyimide Seat, 0.025 Cv |
| G101162 | High Density Teflon Seat, 0.06 Cv |
| G101163 | High Density Teflon Seat, 0.2 Cv |
| G109057 | High Density Teflon Seat, 0.025 Cv |
| G110478 | PEEK Seat, 0.06 Cv |
| G110479 | PEEK Seat, 0.2 Cv |
| G110477 | PEEK Seat, 0.025 Cv |
| G103596 | 1/4" FNPT 20 Micron Inlet Filter Kit (For Inlet port) |
| 58-030-45 | Cavity O-Ring,Viton |
| 58-030-76 | Cavity O-Ring,Teflon |
| **PR-50 Cap/Bonnet Parts and Range Springs** | |
| G101334 | Spring Housing |
| G101146 | Range Spring |
| G101109 | Panel Mount Kit |
| G101089 | Non S/R Actuator Screw 316 SS |
| G101126 | Adjusting Screw (S/R) |
| G101142 | Adjusting Screw (Non S/R) ( Obsolete replaced by G101126 Above ) |
| G101135 | Spring Adjusting Nut |
| G102878 | Locking Set Screw Assembly for S/R |
| G101906 | Blue Anodized Aluminum Knob |
| G115581 | Captured Vent Conversion Kit ( SS ) |
| G108080 | Captured Vent Conversion Kit ( Alum ) |
| G018103 | Hex Cap Screw for Knob |
| G014008 | Thrust Bearing under Knob |
| G014009 | Thrust Washer under Knob ( 2pcs. Required with Bearing ) |
| G108374 | Captured Vent Panel Mount Bracket |
| G110507 | Speed Adjustment Handle Assembly |
|  |  |
| **PR-56 and PR-57 Spare Parts** | |
| **Complete Repair Kits (Poppet, Seat, Seat Holder, Lwr Flat Seal, Poppet Spring with Piston/Cavity O-rings)** | |
| G102133 | 0.05 Cv, Polyimide Seat, 4000 PSIG (Non Self Relieving) |
| G102134 | 0.05 Cv, Polyimide Seat, 6000 PSIG (Non Self Relieving) Viton Cavity Ring |
| G114828 | 0.05 Cv, PEEK Seat, 2000 PSIG (Non Self Relieving) Viton Cavity Ring |
| G114237 | 0.05 Cv, Polyimide Seat, 6000 PSIG (Non Self Relieving) Teflon Cavity Ring |
| G107106 | 0.05 Cv, Polyimide Seat, 7500 PSIG (Non Self Relieving) PR-57 ONLY |
| G107107 | 0.05 Cv, Polyimide Seat, 10,000 PSIG (Non Self Relieving) PR-57 ONLY |
| G113871 | 0.05 Cv, Polyimide Seat, 1000 PSIG (Self Relieving) |
| G102133-SR | 0.05 Cv, Polyimide Seat, 4000 PSIG (Self Relieving) |
| G102134-SR | 0.05 Cv, Polyimide Seat, 6000 PSIG (Self Relieving) |
| G107106-SR | 0.05 Cv, Polyimide Seat, 7500 PSIG (Self Relieving) PR-57 ONLY |
| G107107-SR | 0.05 Cv, Polyimide Seat, 10,000 PSIG (Self Relieving) PR-57 ONLY |
| G107067 | 0.2 Cv, Polyimide Seat, 4000 PSIG (Self Relieving) |
| G107068 | 0.2 Cv, Polyimide Seat, 6000 PSIG (Self Relieving) |
| G115047 | 0.2 Cv, Polyimide Seat, 6000 PSIG (Non Self Relieving) Teflon Cavity Ring |
| G107069 | 0.2 Cv, Polyimide Seat, 7500 PSIG (Self Relieving) PR-57 ONLY |
| G107070 | 0.2 Cv, Polyimide Seat, 10,000 PSIG (Self Relieving) PR-57 ONLY |
| G113020 | 0.05 Cv, Polyimide Seat, 4000 PSIG (Non Self Relieving) (For Monel Units) |
| G111649 | 0.05 Cv, PEEK Seat, 10,000 PSIG (Non Self Relieving) Teflon Cavity Ring, PR-57 |
| G111649-SR | 0.05 Cv, PEEK Seat, 10,000 PSIG (Self Relieving) Teflon Cavity Ring, PR-57 |
| G112647 | 0.05 Cv, PEEK Seat, (Non Self Relieving) Poppet Kit only. |
| G102135 | 0.05 Cv, Polyimide Seat, (Non Self Relieving) Poppet Kit only. |
| G112931 | 0.05 Cv, Polyimide Seat, 4000 PSIG (Non Self Relieving) (w/Teflon Cavity Ring) |
| G114205 | 0.05 Cv, PCTFE (Kel-F) Seat, 4000 PSIG (Self Relieving) |
| G114722 | 0.05 Cv, PCTFE (Kel-F) Seat, 4000 PSIG (Non Self Relieving) Viton Cavity Ring |
| G114380 | 0.2 Cv, Polyimide Seat, 4000 PSIG (Non Self Relieving) (w/Teflon Cavity Ring) |
| G115592 | 0.2 Cv, PEEK Seat, 6000 PSIG (Non Self Relieving) PTFE Cavity Ring |
| G114253 | 0.2 Cv, PEEK Seat, 4000 PSIG (Non Self Relieving) Viton Cavity Ring |
| G115681 | 0.2 Cv, PEEK Seat, 2000 PSIG (Non Self Relieving) PTFE Cavity Ring |
| G114708 | 0.05 Cv, Polyimide Seat, 250 PSIG, (Non Self Relieving) Teflon Cavity Ring |
| G114626 | 0.05 Cv, PEEK Seat, 2000 PSIG, (Self Relieving) Teflon Cavity Ring |
| G114410 | 0.025 Cv, PEEK Seat, 4000 PSIG, (Self Relieving) Viton Cavity Ring |
| G115109 | 0.025 Cv, PEEK Seat, 4000 PSIG, (Non Self Relieving) Viton Cavity Ring |
| G115127 | 0.2 Cv, Polyimide Seat, 4000 PSIG (Non Self Relieving) (w/ Viton Cavity Ring) |
| G115068-SR | 0.05 Cv, PEEK Seat, 6000 PSIG, (Self Relieving) Viton Cavity Ring |
| G114723 | 0.05 Cv, PEEK Seat, 4000 PSIG, (Non S/R) EPR Piston Ring, Viton B/U, Teflon Cavity |
| G114724 | 0.05 Cv, PEEK Seat, 2000 PSIG, (Non S/R) EPR Piston Ring, Viton B/U, Teflon Cavity |
| G114809 | 0.05 Cv, PEEK Seat, 6000 PSIG, (Non Self Relieving) Teflon Cavity Ring |
| **Miscellaneous Internal Parts** | |
| G101024 | S/R Relief Valve Actuator |
| G101025 | S/R Relief Valve Poppet |
| G101127 | S/R Seat PCTFE (KEL-F) |
| G101158 | 0.05 Cv PCTFE (KEL-F) Main Seat |
| G109057 | 0.05 Cv Teflon Main Seat |
| G109058 | 0.05 Cv Tefzel Main Seat |
| G109059 | 0.05 Cv CF Teflon Main Seat |
| G109060 | 0.05 Cv Polyimide Main Seat |
| G110477 | 0.05 Cv PEEK Main Seat |
| G103689 | 0.2 Cv PCTFE (KEL-F) Main Seat |
| G101163 | 0.2 Cv Teflon Main Seat |
| G103687 | 0.2 Cv Tefzel Main Seat |
| G101157 | 0.2 Cv Polyimide Main Seat |
| G110479 | 0.2 Cv PEEK Main Seat |
| G112647 | 0.025 Cv, PEEK Seat, Poppet Kit ONLY |
| G103121 | SS Piston Non Self Relieving 10,000 PSIG Range |
| G103135 | SS Poppet 0.05 Cv |
| G103136 | SS Seat Holder 0.05 Cv |
| G103137 | SS Seat Retainer 0.05 Cv |
| G109134 | SS Seat Retainer - 10,0000 PSI |
| G103140 | SS Lower Spring Guide (1000 thru 10,000 PSIG range units) |
| G110810 | SS Cylinder 0-2000 PSIG range units (Non Captured Vent units.) |
| G110812 | SS Piston 0-2000 PSIG range units (Non Self Relieving units.) |
| G110906 | SS Cylinder 0-500 PSIG range units (Non Captured Vent units.) |
| G110910 | SS Piston 0-250, 500, & 750 PSIG range units (Non Self Relieving units.) |
| G103224 | SS Cylinder 0-4000 PSIG range units (Non Captured Vent units.) |
| G103227 | SS Cylinder 0-10,000 PSIG range units (Non Captured Vent units.) |
| G103264 | SS Piston 0-4000 PSIG range units (Self Relieving units.) |
| G103267 | SS Piston 0-10,000 PSIG range units (Self Relieving units.) |
| G103596 | 1/4" FNPT 20 Micron Inlet Filter Kit (For Inlet port) |
| 58-030-45 | Cavity O-Ring,Viton |
| 58-030-76 | Cavity O-Ring,Teflon |
| **PR-56/57 Cap/Bonnet Parts and Range Springs** | |
| G101907 | Knob - Black |
| G108374 | Captured Vent Panel Mount Bracket |
| G110507 | Speed Adjustment Handle Assembly |
| G101334 | Spring Housing |
| G101146 | Range Spring (0-1000 thru 0-10,000 PSIG Range units.) |
| G101109 | Panel Mount Kit (Bracket and Screw) |
| G101089 | Non S/R Actuator Screw 316 SS |
| G101126 | Adjusting Screw (S/R) |
| G101142 | Adjusting Screw (Non S/R) ( Obsolete replaced by G101126 Above ) |
| G101135 | Spring Adjusting Nut |
| G102878 | Locking Set Screw Assembly for S/R |
| G101906 | Blue Anodized Aluminum Knob |
| G108080 | Captured Vent Conversion Kit |
| G018103 | Hex Cap Screw for Knob |
| G014008 | Thrust Bearing under Knob |
| G014009 | Thrust Washer under Knob ( 2pcs. Required with Bearing ) |
|  |  |
| **PR-59 Spare Parts** | |
| **Complete Repair Kits** | |
| G112487 | Replacement Kit, Non S/R, 0-250 PSIG, Teflon Seat, Assy Tool Incld. |
| G107410 | Replacement Kit, Non S/R, 0-500 PSIG, PCTFE (Kel-F) Seat, Assy Tool Incld. |
| G107411 | Replacement Kit, Non S/R, 0-500 PSIG, PCTFE (Kel-F) Seat, No Assy Tool |
| G113583 | Replacement Kit, With S/R & C/V, 0-1000 PSIG, PCTFE (Kel-F) Seat, No Assy Tool Incld. |
| G114558 | Replacement Kit, With S/R, 0-250 PSIG, PCTFE (Kel-F) Seat, Assy Tool Incld. |
| G113582 | Replacement Kit, With S/R, 0-250 PSIG, PCTFE (Kel-F) Seat, Assy Tool NOT Incld. |
| G115499 | Replacement Kit, With S/R, 0-750 PSIG, PCTFE (Kel-F) Seat, NO Assy Tool Incld. |
| G112938 | Replacement Kit, With S/R, 0-750 PSIG, PCTFE (Kel-F) Seat, Assy Tool Incld. |
| G115126 | Replacement Kit, Non S/R, 0-750 PSIG, PCTFE (Kel-F) Seat, Assy Tool Incld. |
| G114557 | Replacement Kit, With S/R, 0-1000 PSIG, PCTFE (Kel-F) Seat, Assy Tool Incld. |
| G111512 | Replacement Kit, Non S/R, 0-1000 PSIG, PCTFE (Kel-F) Seat, No Assy Tool |
| G111511 | Replacement Kit, Non S/R, 0-1000 PSIG, PCTFE (Kel-F) Seat, Assy Tool Incld. |
| G112834 | Replacement Kit, Non S/R, 0-1000 PSIG, Teflon Seat, Assy Tool Incld. |
| G112502 | Replacement Kit, Non S/R, 0-2000 PSIG, PCTFE (Kel-F) Seat, No Assy Tool |
| G115687 | Replacement Kit, Non S/R, 0-2000 PSIG, PCTFE (Kel-F) Seat, with Assy Tool |
| G112578 | Replacement Kit, Non S/R, 0-4000 PSIG, PCTFE (Kel-F) Seat, Assy Tool Incld. |
| G115668 | Replacement Kit, Non S/R, 0-4000 PSIG, PCTFE (Kel-F) Seat, No Tool Incld. |
| G113867 | Replacement Kit, With S/R, 0-4000 PSIG, PCTFE (Kel-F) Seat, Assy Tool Incld. |
| **Miscellaneous Internal Parts** | |
| G110799 | Push Rod, SS |
| G110801 | Seat Support |
| G110798 | Seat Retainer |
| G110800 | Seat, PCTFE (Kel-F) |
| G110885 | Seat, Teflon |
| G110802 | Poppet, SS |
| G110884 | Spring Guide, SS (0-250, 500, and 750 PSIG ranges.) |
| G103140 | Spring Guide, SS (0-1000, 2000, and 4000 PSIG ranges.) |
| G110803 | Poppet Guide, SS |
| G082313 | Poppet Guide Seal, Viton |
| G082328 | Body Cavity Seal, Viton |
| G082303 | Poppet O-ring, Viton |
| G082339 | Poppet Back up Ring, Viton |
| G101127 | S/R Relief Seat, PCTFE (Kel- F) |
| G101025 | S/R Poppet, SS |
| G086121 | S/R Poppet Spring |
| G086149 | Poppet Spring |
| TF9805 | PR-59 Seat Assembly Tool |
| **PR-59 Cap/Bonnet Parts and Range Springs** | |
| G101907 | Knob - Black |
| G101906 | Blue Anodized Aluminum Knob |
| G108374 | Captured Vent Panel Mount Bracket |
| G110507 | Speed Adjustment Handle Assembly |
| G101335 | Spring Housing |
| G101146 | Range Spring (0-1000 thru 0-4,000 PSIG Range units.) |
| G101109 | Panel Mount Kit (Bracket and Screw) |
| G101126 | Adjusting Screw (S/R) |
| G101142 | Adjusting Screw (Non S/R) ( Obsolete replaced by G101126 Above ) |
| G101135 | Spring Adjusting Nut |
| G102878 | Locking Set Screw Assembly for S/R |
| G018103 | Hex Cap Screw for Knob |
| G014008 | Thrust Bearing under Knob |
| G014009 | Thrust Washer under Knob ( 2pcs. Required with Bearing ) |
| G098003 | Washer for Cap Screw |
|  |  |
| **BP-3 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (High Density Teflon Actuator Seal)** | |
| G102385 | 10 PSIG |
| G100178 | 25, 50 and 100 PSIG |
| G100180 | 250 PSIG |
| G100182 | 500 PSIG |
| G110793 | 750 and 1000 PSIG |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (Polyimide Actuator Seal)** | |
| G103387 | 10 PSIG |
| G103388 | 25, 50 and 100 PSIG |
| G100167 | 250 PSIG |
| G102259 | 500 PSIG |
| G110677 | 750 and 1000 PSIG |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (Viton Actuator Seal)** | |
| G108950 | 10 PSIG |
| G108951 | 25, 50 and 100 PSIG |
| G109886 | 250 PSIG |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (Ceramic Filled Teflon Actuator Seal)** | |
| G108964 | 10 PSIG |
| G108967 | 25, 50 and 100 PSIG |
| G108968 | 250 PSIG |
| G108969 | 500 PSIG |
| G110792 | 750 and 1000 PSIG |
| G114381 | 0-100 PSIG, SS Diaphragm with Tefzel Seal Ring (No Teflon Liner) |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (PEEK Actuator Seal)** | |
| G111423 | 25, 50 and 100 PSIG |
| G111424 | 250 PSIG |
| G110791 | 500 PSIG |
| G110790 | 750 and 1000 PSIG |
| **Stainless Steel/PEEK Lined Diaphragm Assemblies (PEEK Actuator Seal)** | |
| G114492 | 1000 PSIG |
| G115206 | 250 PSIG |
| G115194 | 500, 750 and 1000 PSIG PEEK Diaphragm Liner, PEEK Actuator, SS Backing |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (Kalrez Actuator Seal)** | |
| G111405 | 10 PSIG |
| G111406 | 25, 50 and 100 PSIG |
| G111407 | 250 PSIG |
| **Monel/Teflon Lined Diaphragm Assemblies (High Density Teflon Actuator Seal) (Inconel Backing Standard)** | |
| G100179 | 10, 25, 50 and 100 PSIG |
| G100181 | 250 PSIG |
| G100183 | 500 PSIG |
| **Monel/Teflon Lined Diaphragm Assemblies (Polyimide Actuator Seal) (Inconel Backing Standard)** | |
| G111425 | 10, 25, 50 and 100 PSIG |
| G111426 | 250 PSIG |
| G111427 | 500 PSIG |
| G111428 | 750 and 1000 PSIG |
| **Monel/Teflon Lined Diaphragm Assemblies (Ceramic Filled Teflon Actuator Seal) (Inconel Backing Standard)** | |
| G111442 | 10, 25, 50 and 100 PSIG |
| G111443 | 250 PSIG |
| G111444 | 500 PSIG |
| **Monel/Teflon Lined Diaphragm Assemblies (PEEK Actuator Seal)(Inconel Backing Standard)** | |
| G111445 | 10, 25, 50 and 100 PSIG |
| G111446 | 250 PSIG |
| G111447 | 500 PSIG |
| G111448 | 750 and 1000 PSIG |
| **Monel/Teflon Lined Diaphragm Assemblies (Viton Actuator Seal) (Inconel Backing Standard)** | |
| G111238 | 10, 25, 50 and 100 PSIG |
| G111239 | 250 PSIG |
| **Hastelloy B/Teflon Lined Diaphragm Assemblies (Teflon Actuator Seal)** | |
| G100466 | 10, 25, 50 and 100 PSIG |
| G100467 | 250 PSIG |
| G100468 | 500 PSIG |
| **Hastelloy B/Teflon Lined Diaphragm Assemblies (Polyimide Actuator Seal)** | |
| G111464 | 10, 25, 50 and 100 PSIG |
| G111465 | 250 PSIG |
| G111466 | 500 PSIG |
| G111467 | 750 and 1000 PSIG |
| **Hastelloy C/Teflon Lined Diaphragm Assemblies (Teflon Actuator Seal)** | |
| G103783 | 10, 25, 50 and 100 PSIG |
| G103784 | 250 PSIG |
| G103785 | 500 PSIG |
| **Hastelloy C/Teflon Lined Diaphragm Assemblies (Polyimide Actuator Seal)** | |
| G111477 | 10, 25, 50 and 100 PSIG |
| G111478 | 250 PSIG |
| G111479 | 500 PSIG |
| G111480 | 750 and 1000 PSIG |
| **Hastelloy C/Teflon Lined Diaphragm Assemblies (Kalrez Actuator Seal)** | |
| G111489 | 25, 50 and 100 PSIG |
| G111490 | 250 PSIG |
| **Hastelloy C/Teflon Lined Diaphragm Assemblies (Ceramic Filled Teflon Actuator Seal)** | |
| G111483 | 10, 25, 50 and 100 PSIG |
| G111484 | 250 PSIG |
| G111485 | 500 PSIG |
| **Hastelloy C/Teflon Lined Diaphragm Assemblies (PEEK Actuator Seal)** | |
| G111486 | 10, 25, 50 and 100 PSIG |
| G111487 | 250 PSIG |
| G111006 | 500 PSIG |
| G111488 | 750 and 1000 PSIG |
| **Titanium (Tantalum)/Teflon Lined Diaphragm Assemblies (Teflon Actuator Seal)** | |
| G100446 | 10, 25, 50 and 100 PSIG |
| G100447 | 250 PSIG |
| G100448 | 500 PSIG |
| **Viton/Teflon Lined Diaphragm Assemblies (For SS or Brass Units)** | |
| G110698 | 6 and 10 PSIG (Teflon Actuator Seal) |
| G110699 | 6 and 10 PSIG (Viton Actuator Seal) |
| **SS/Viton Lined Diaphragm Assemblies (For SS or Brass Units)** | |
| G114720 | 1000 PSIG (PEEK Actuator Seal) |
| G115116 | 10 PSIG (Viton Actuator Seal) |
| G115117 | 25, 50, and 100 PSIG (Viton Actuator Seal) |
| G115467 | 250 PSIG (Kalrez Actuator Seal) |
| **Miscellaneous BP-3 Diaphragm Assemblies** | |
| G115317 | 25, 50, and 100 PSIG (Kalrez Actuator Seal), Monel (Inconel) Backing with PEEK Liner (Monel Unit) |
| G114123 | 25, 50, and 100 PSIG (Kalrez Actuator Seal), Monel (Inconel) Backing with Teflon Liner (Monel Unit) |
| G115450 | 250, PSIG (Kalrez Actuator Seal), Monel (Inconel) Backing with Teflon Liner (Monel Unit) |
| **Seat and Seal Kits** | |
| G111606 | 0.3 Cv, SS Seat with Teflon Lower Flat Seal |
| G102490 | 0.2 Cv, SS Seat with Teflon Lower Flat Seal |
| G106623 | 0.12 Cv, SS Seat with Teflon Lower Flat Seal |
| G110273 | 0.095 Cv, SS Seat with Teflon Lower Flat Seal |
| G106319 | 0.06 Cv, SS Seat with Teflon Lower Flat Seal |
| G107089 | 0.04 Cv, SS Seat with Teflon Lower Flat Seal |
| G102279 | 0.03 Cv, SS Seat with Teflon Lower Flat Seal |
| G111936 | 0.025 Cv, SS Seat with Teflon Lower Flat Seal |
| G112374 | 0.01 Cv, SS Seat with Teflon Lower Flat Seal |
| G108349 | 0.005 Cv, SS Seat with Teflon Lower Flat Seal |
| G102491 | 0.2 Cv, Monel Seat with Teflon Lower Flat Seal |
| G111821 | 0.03 Cv, Monel Seat with Teflon Lower Flat Seal |
| G106774 | 0.01 Cv, Monel Seat with Teflon Lower Flat Seal |
| G102492 | 0.2 Cv, Hastelloy B Seat with Teflon Lower Flat Seal |
| G102495 | 0.2 Cv, Hastelloy C Seat with Teflon Lower Flat Seal |
| G107879 | 0.025 Cv, Hastelloy C Seat with Teflon Lower Flat Seal |
| G102839 | 0.2 Cv, Titanium Seat with Teflon Lower Flat Seal |
| G114750 | 0.06 Cv, Titanium Seat, Teflon Lower Flat Seal |
| G114590 | 0.005 Cv Titanium Seat with Teflon Lower Flat Seal |
| G101967 | 0.05 Cv SS Seat Only. No lower flat seal. |
| **Cap/Bonnet Parts and Range Springs** | |
| G106816 | ADJ SCREW SHORT, Stainless Steel, (For Tamper Proof PR-1's) |
| G106815 | ADJ SCREW, Stainless Steel (Standard Adjusting Screw for PR-1's) |
| G102521 | CAP ASSEMBLY, Complete, Stainless Steel |
| G103029 | CAP ASSEMBLY, For Fine adjust insert. (Insert not included) |
| G102526 | CAP ASSEMBLY, Panel Mount, Complete, Stainless Steel |
| G103920 | CAP, Stainless Steel (Standard Cap for PR-1's) |
| G100687 | Fine Adjust adjusting screw for G103029 Cap Assy |
| G100686 | Fine Adjust insert for G103029 Cap Assy |
| G109802-1 | Blue Plastic Knob |
| G103838 | METAL KNOB, BLUE, Aluminum |
| G103944 | METAL Panel Mount KNOB, BLUE, Aluminum |
| G100890 | Range Spring, 10 AND 25 PSIG (Standard for all PR-1's) |
| G100892 | Range Spring, 100 PSIG (Standard for all PR-1's) |
| G100893 | Range Spring, 250 PSIG (Standard for all PR-1's) |
| G100891 | Range Spring, 50 PSIG (Standard for all PR-1's) |
| G100894 | Range Spring, 500 PSIG (Standard for all PR-1's) |
| G101595 | Range Spring, Inconel 10 and 25 PSIG |
| G101596 | Range Spring, Inconel 50 PSIG |
| G101597 | Range Spring, Inconel 100 PSIG |
| G101598 | Range Spring, Inconel 250 PSIG |
| **Miscellaneous Parts** | |
| G100388 | MOUNTING BRACKET (Step Type - Bracket Only) |
| G111312 | MOUNTING BRACKET KIT (Includes screws, lock washers, and G100388 bracket) |
|  |  |
| **BP-6 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (Teflon Actuator Seal)** | |
| G103244 | 100 and 250 PSIG |
| G103245 | 500 and 1000 PSIG |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (Stainless Steel Actuator Seal)** | |
| G102215 | 100 and 250 PSIG |
| G101867 | 500 and 1000 PSIG |
| **Monel/Teflon Lined Diaphragm Assemblies (Monel Actuator Seal)** | |
| G100705 | 100 and 250 PSIG |
| **Titanium (Tantalum)/Teflon Lined Diaphragm Assemblies (Teflon Actuator Seal)** | |
| G103249 | 500 and 1000 PSIG |
| **Cap/Bonnet Parts and Range Springs** | |
| G101516 | Adjusting Screw Assembly with Handle installed |
| G101517 | Handle (Separately) |
| G101518 | 500 and 1000 PSIG Range Spring |
| G103246 | 100 and 250 PSIG Range Spring |
| G101514 | Spring Button |
|  |  |
| **BP-8 Spare Parts** | |
| **BP-8 Series Diaphragm Assemblies** | |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (Glass Filled Teflon Actuator)** | |
| G101841 | 10, 25, and 50 PSIG |
| G101985 | 100 PSIG |
| G101986 | 250 PSIG |
| G101987 | 500 PSIG |
| **Stainless Steel/Tefzel Seal Ring Diaphragm Assemblies (Glass Filled Teflon Actuator)** | |
| G112279 | 10, 25, and 50 PSIG |
| G112280 | 100 PSIG |
| G112281 | 250 PSIG |
| G112282 | 500 PSIG |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (PEEK Actuator)** | |
| G112380 | 10, 25, and 50 PSIG |
| G112381 | 100 PSIG |
| G112382 | 250 PSIG |
| G112383 | 500 PSIG |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (Viton Actuator)** | |
| G101988 | 10, 25, and 50 PSIG |
| G101989 | 100 PSIG |
| G101990 | 250 PSIG |
| **Stainless Steel/Tefzel Seal Ring Diaphragm Assemblies (Viton Actuator)** | |
| G112283 | 10, 25, and 50 PSIG |
| G112284 | 100 PSIG |
| G112285 | 250 PSIG |
| **Monel/Teflon Lined Diaphragm Assemblies (Glass Filled Teflon Actuator)** | |
| G101896 | 10, 25, and 50 PSIG |
| G101897 | 100 PSIG |
| G101898 | 250 PSIG |
| G101899 | 500 PSIG |
| **Monel/Teflon Lined Diaphragm Assemblies (Viton Actuator)** | |
| G101992 | 10, 25, and 50 PSIG |
| G101993 | 100 PSIG |
| G101994 | 250 PSIG |
| **Hastelloy C/Teflon Lined Diaphragm Assemblies (Glass Filled Teflon Actuator)** | |
| G101972 | 10, 25, and 50 PSIG |
| G101973 | 100 PSIG |
| G101974 | 250 PSIG |
| G101975 | 500 PSIG |
| **Hastelloy C/Teflon Lined Diaphragm Assemblies (Viton Actuator)** | |
| G101996 | 10, 25, and 50 PSIG |
| G101997 | 100 PSIG |
| G101998 | 250 PSIG |
| **Viton/Teflon Lined Diaphragm Assemblies (Viton Actuator) (SS and Brass units)** | |
| G101837 | 10 and 25 PSIG |
| G108830 | 0-1 PSIG |
| **Viton/Teflon Lined Diaphragm Assemblies (Viton Actuator) ( Monel Units)** | |
| G111178 | 10 and 25 PSIG (Monel Actuator Material with Viton Insert.) |
| **Seat and Seal Kits** | |
| G101879 | Seat and Teflon Seal (Stainless Steel and Brass Units) (1.2 Cv) |
| G111180 | Seat and Teflon Seal (Monel Units) 1.2 cv |
| G101847 | Seat Only (Stainless Steel and Brass Units) (1.2 Cv) |
| G112377 | Seat Only (Stainless Steel and Brass Units) (0.4 Cv) No Teflon Seal. |
| G112378 | Seat Only (Stainless Steel and Brass Units) (0.7 Cv) No Teflon Seal. |
| 58-020-76 | Teflon Seat Seal |
| **BP-8 Cap/Bonnet Parts and Range Springs** | |
| G109802-1 | Blue Plastic Knob |
| G101746 | SS ADJUSTING SCREW |
| G103594 | P/M CAP KIT |
| G103903 | Stainless Steel Cap |
| G103904 | Stainless Steel Cap with Panel Mount option (P/M Nuts not included) |
| G103838 | METAL KNOB, BLUE, Aluminum |
| G103944 | METAL Panel Mount KNOB, BLUE, Aluminum |
| G100891 | Range Spring, 10 and 25 PSIG |
| G100892 | Range Spring, 50 PSIG |
| G100893 | Range Spring, 100 PSIG |
| G100894 | Range Spring, 250 PSIG |
| G100287 | Belleville Washer Kit, 500 PSIG |
|  |  |
| **BP-8LF Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Viton/Teflon Lined Diaphragm Assemblies** | |
| G103846 | 10 and 25 PSIG (Viton Actuator) |
| G103823 | 10 and 25 PSIG (Teflon Actuator) |
| G112269 | 10 and 25 PSIG (Kalrez Actuator) |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (Teflon Actuator)** | |
| G112218 | 6, 25, and 50 PSIG |
| G103847 | 75 and 125 PSIG |
| G112219 | 250 PSIG |
| G112220 | 500 PSIG |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (Viton Actuator)** | |
| G112216 | 6, 25, and 50 PSIG |
| G103824 | 75 and 125 PSIG |
| G112217 | 250 PSIG |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (Ceramic Filled Teflon Actuator)** | |
| G112208 | 6, 25, and 50 PSIG |
| G112209 | 75 and 125 PSIG |
| G112210 | 250 PSIG |
| G112211 | 500 PSIG |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (Polyimide Actuator)** | |
| G112212 | 6, 25, and 50 PSIG |
| G112213 | 75 and 125 PSIG |
| G112214 | 250 PSIG |
| G112215 | 500 PSIG |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (PEEK Actuator)** | |
| G115225 | 500 PSIG |
| **Stainless Steel/Teflon Lined Diaphragm Assemblies (Kalrez Actuator)** | |
| G112221 | 6, 25, and 50 PSIG |
| G112222 | 75 and 125 PSIG |
| G112223 | 250 PSIG |
| **Stainless Steel/Viton Lined Diaphragm Assemblies (Teflon Actuator)** | |
| G112235 | 6, 25, and 50 PSIG |
| G112236 | 75 and 125 PSIG |
| G112237 | 250 PSIG |
| G112238 | 500 PSIG |
| **Stainless Steel/Viton Lined Diaphragm Assemblies (Viton Actuator)** | |
| G112232 | 6, 25, and 50 PSIG |
| G112233 | 75 and 125 PSIG |
| G112234 | 250 PSIG |
| **Stainless Steel/Viton Lined Diaphragm Assemblies (Kalrez Actuator)** | |
| G112239 | 6, 25, and 50 PSIG |
| G112240 | 75 and 125 PSIG |
| G112241 | 250 PSIG |
| **Stainless Steel/Tefzel Seal Ring Diaphragm Assemblies (Teflon Actuator)** | |
| G112253 | 6, 25, and 50 PSIG |
| G112254 | 75 and 125 PSIG |
| G112255 | 250 PSIG |
| G112256 | 500 PSIG |
| **Stainless Steel/Tefzel Seal Ring Diaphragm Assemblies (Viton Actuator)** | |
| G112250 | 6, 25, and 50 PSIG |
| G112251 | 75 and 125 PSIG |
| G112252 | 250 PSIG |
| **Monel/Teflon Lined Diaphragm Assemblies (Teflon Actuator)** | |
| G110959 | 75 and 125 PSIG |
| **Hastelloy C/Teflon Lined Diaphragm Assemblies (Kalrez Actuator)** | |
| G115045 | 6, 25, and 50 PSIG |
| **Seat and Seal Kits** | |
| G108697 | 0.2 Cv Seat and Teflon Lower Flat Seal (SS and Brass units) |
| G108719 | 0.2 Cv Seat and Teflon Lower Flat Seal (Monel) |
| **Miscellaneous Internal Parts** | |
| G109905 | 0.03 Cv SS Seat only. No Teflon flat seal. |
| G101967 | 0.05 Cv SS Seat only. No Teflon flat seal. |
| G109933 | 0.06 Cv SS Seat only. No Teflon flat seal. |
| G101968 | 0.12 Cv SS Seat only. No Teflon flat seal. |
| G101190 | 0.2 Cv SS Seat only. No Teflon flat seal. |
| G111837 | 0.24 Cv SS Seat only. No Teflon flat seal. |
| G110554 | 0.3 Cv SS Seat only. No Teflon flat seal. |
| G110748 | 0.095 Cv SS Seat only. No Teflon flat seal. |
| G109580 | 0.025 Cv SS Seat only. No Teflon flat seal. |
| G110663 | 0.04 Cv SS Seat only. No Teflon flat seal. |
| G110895 | 0.005 Cv SS Seat only. No Teflon flat seal. |
| G110638 | 0.01 Cv SS Seat only. No Teflon flat seal. |
| G101167 | Teflon Lower Flat Seal |
| G103839 | SUB SEAT - Stainless Steel |
| G082405 | Teflon Sub Seat Seal Ring |
| **Cap/Bonnet Parts and Range Springs** | |
| G109802-1 | Blue Plastic Knob |
| G101746 | SS ADJUSTING SCREW |
| G103594 | P/M CAP KIT |
| G103903 | Stainless Steel Cap |
| G103904 | Stainless Steel Cap with Panel Mount option (P/M Nuts not included) |
| G103940 | Stainless Steel Cap for Fine Adjustment Option |
| G114671 | Dome Loaded Cap Assembly |
| G100686 | Fine Adjustment Mounting Sleeve |
| G100687 | Adjusting Screw for Fine Adjust option |
| G070001 | Fine Adjustment Black Knob |
| G103838 | METAL KNOB, BLUE, Aluminum |
| G103944 | METAL Panel Mount KNOB, BLUE, Aluminum |
| G100890 | Range Spring, 6 PSIG |
| G100891 | Range Spring, 25 PSIG |
| G100892 | Range Spring, 50 and 75 PSIG |
| G100893 | Range Spring, 125 PSIG |
| G100894 | Range Spring, 250 PSIG |
| G100287 | Belleville Washer Kit, 500 PSIG |
|  |  |
| **BP-60 Spare Parts** | |
| **Diaphragm Assemblies (SS and Brass units)** | |
| **Nylon Backing (No Liner) (All Pressure Ranges)** | |
| G102310 | Teflon Actuator Seal, Viton o-rings. (Same as G102311&G102312) |
| G106243 | Teflon Actuator Seal, Teflon o-rings. (Same as G106244) |
| G115247 | Tefzel Actuator Seal, Teflon o-rings. |
| G106246 | Polyimide Actuator Seal, Viton o-rings. (Same as G106247&G106248) |
| G106267 | Polyimide Actuator Seal, Teflon Cavity Ring (Same as G106268&G106269) |
| G108002 | PEEK Actuator Seal, Teflon inner o-ring, Viton Cavity Ring (Same as G108003 & G108004) |
| G103273 | Teflon Actuator Seal, Teflon inner o-ring. (No Cavity Ring supplied) |
| G103271 | Ceramic Filled Teflon Actuator Seal, Teflon inner o-ring. (No Cavity Ring supplied) |
| G103272 | Polyimide Actuator Seal, Viton inner o-ring. (No Cavity Ring supplied) |
| G110700 | PEEK Actuator Seal, Viton inner o-ring. (No Cavity Ring supplied) |
| **Nylon Backing/Stainless Steel Liner (All Pressure Ranges)** | |
| G103807 | Teflon Actuator Seal, Teflon o-rings. (Same as G103808 & G103809) |
| G113877 | Tefzel Actuator, Viton inner o-ring. (Viton Cavity Ring) |
| G106286 | Polyimide Actuator Seal, Viton o-rings. (Same as G106287&G106288) |
| G108005 | PEEK Actuator Seal, Teflon inner o-ring, Viton Cavity Ring (Same as G108006 & G108007) |
| G108818 | Ceramic Filled Teflon Actuator Seal, Teflon inner o-ring, Viton Cavity Ring. |
| G103276 | Teflon Actuator Seal, Teflon inner o-ring. (No Cavity Ring supplied) |
| G103274 | Ceramic Filled Teflon Actuator Seal, Teflon inner o-ring. (No Cavity Ring supplied) |
| G103275 | Polyimide Actuator Seal, Viton inner o-ring. (No Cavity Ring supplied) |
| G110703 | PEEK Actuator Seal, Viton inner o-ring. (No Cavity Ring supplied) |
| **Teflon Backing/Stainless Steel Liner (All Pressure Ranges)** | |
| G110706 | PEEK Actuator Seal, Teflon o-rings. |
| G110750 | Polyimide Actuator Seal, Teflon o-rings. |
| G110855 | PEEK Actuator Seal, Kalrez Sahara O-Rings |
| G110872 | PEEK Actuator Seal, Teflon inner o-ring. (No Cavity Ring supplied.) |
| G110873 | Polyimide Actuator Seal, Teflon inner o-ring. (No Cavity Ring supplied.) |
| G110874 | PEEK Actuator Seal, Kalrez Sahara inner o-ring. (No Cavity Ring supplied.) |
| G112486 | Tefzel Actuator, Teflon inner o-ring. (No Cavity Ring supplied.) |
| **Nylon Backing/Teflon Liner (All Pressure Ranges)** | |
| G108242 | PEEK Actuator Seal, Teflon o-rings. |
| G103806 | Teflon Actuator Seal, Teflon O-rings. (Same as G103873) |
| **Diaphragm Assemblies (Monel units)** | |
| **Nylon Backing (No Liner) (All Pressure Ranges)** | |
| G103279 | Teflon Actuator Seal, Teflon inner o-ring. (No Cavity Ring supplied) |
| G103277 | Ceramic Filled Teflon Actuator Seal, Teflon inner o-ring. (No Cavity Ring supplied) |
| G103278 | Polyimide Actuator Seal, Viton inner o-ring. (No Cavity Ring supplied) |
| G110701 | PEEK Actuator Seal, Viton inner o-ring. (No Cavity Ring supplied) |
| **Nylon Backing/Inconel Liner (All Pressure Ranges)** | |
| G107665 | Teflon Actuator Seal, Teflon O-rings |
| G107689 | PEEK Actuator Seal, Teflon o-rings. |
| G103289 | Teflon Actuator Seal, Teflon inner o-ring. (No Cavity Ring supplied) |
| G103287 | Ceramic Filled Teflon Actuator Seal, Teflon inner o-ring. (No Cavity Ring supplied) |
| G103288 | Polyimide Actuator Seal, Viton inner o-ring. (No Cavity Ring supplied) |
| G110704 | PEEK Actuator Seal, Viton inner o-ring. (No Cavity Ring supplied) |
| **No Backing/Inconel Liner Only (All Pressure Ranges)** | |
| G102304 | Teflon Actuator Seal, Viton o-rings. (Same as G102305 & G102306) |
| **Diaphragm Assemblies (Hastelloy C units)** | |
| **Nylon Backing (No Liner) (All Pressure Ranges)** | |
| G108446 | Teflon Actuator Seal, Teflon o-rings. |
| G103292 | Teflon Actuator Seal, Teflon inner o-ring. (No Cavity Ring supplied) |
| G103290 | Ceramic Filled Teflon Actuator Seal, Teflon inner o-ring. (No Cavity Ring supplied) |
| G103291 | Polyimide Actuator Seal, Viton inner o-ring. (No Cavity Ring supplied) |
| G110702 | PEEK Actuator Seal, Viton inner o-ring. (No Cavity Ring supplied) |
| **Seat and Seal Kits** | |
| G102315 | 0.04 Cv Seat and Teflon Lower Flat Seal (SS and Brass units) |
| G108829 | 0.01 Cv Seat and Teflon Lower Flat Seal (SS and Brass units) |
| G102314 | 0.04 Cv Seat and Teflon Lower Flat Seal (Monel units) |
| G103229 | 0.03 Cv Seat and Teflon Lower Flat Seal (Monel units) |
| G100405 | 0.04 Cv Seat and Teflon Lower Flat Seal (Hastelloy C units) |
| G113878 | 0.005 Cv Seat and Teflon Lower Flat Seal (SS and Brass Units) |
| **Miscellaneous Internal Parts** | |
| G101490 | Seal Spacer Shim - SS |
| G101921 | Seal Retainer - SS |
| G101923 | Seal Spacer - SS |
| G101925 | 0.04 Cv Seat - SS |
| G101957 | 0.01 Cv Seat - SS |
| G101956 | 0.025 Cv Seat - SS |
| G101935 | Polyimide Seal |
| G110491 | PEEK Seal |
| G101922 | Teflon Seal |
| G111809 | Tefzel Seal |
| G101167 | Teflon Lower Flat Seal for Seat |
| 58-030-45 | Cavity O-Ring,Viton |
| 58-030-76 | Cavity O-Ring,Teflon |
| **BP-60 Cap/Bonnet Parts and Range Springs** | |
| G101334 | Spring Housing |
| G101146 | Range Spring |
| G101109 | Panel Mount Kit |
| G101142 | Adjusting Screw (Non S/R) ( Obsolete replaced by G101126 Above ) |
| 58-013-45 | oring for Adjusting screw at Cap |
| G101135 | Spring Adjusting Nut |
| G101906 | Blue Anodized Aluminum Knob |
| G108080 | Captured Vent Conversion Kit |
| G018103 | Hex Cap Screw for Knob |
| G014008 | Thrust Bearing under Knob |
| G014009 | Thrust Washer under Knob ( 2pcs. Required with Bearing ) |
| G108374 | Captured Vent Panel Mount Bracket |
| G110507 | Speed Adjustment Handle Assembly |
|  |  |
| **BP-66 Spare Parts** | |
| **Complete Repair Kits (Seat/Orifice, Lower Flat Seal and Piston/Cavity O-rings)** | |
| **SS units, standard 0.04 Cv, Polyimide Actuator Seal, Viton O-rings** | |
| G109391 | 0-4000 PSIG |
| G109388 | 0-6000 PSIG |
| G109389 | 0-7500 PSIG |
| G109393 | 0-10,000 PSIG |
| **SS units, standard 0.04 Cv, PEEK Actuator Seal, Viton O-rings** | |
| G114675 | 0-2000 PSIG (Teflon Cavity Seal) |
| G114725 | 0-2000 PSIG (Teflon Cavity Seal, EPR Piston Ring, Viton Back Up Ring.) |
| G114726 | 0-4000 PSIG (Teflon Cavity Seal, EPR Piston Ring, Viton Back Up Ring.) |
| G113683 | 0-4000 PSIG |
| G108089 | 0-6000 PSIG |
| G113311 | 0-7500 PSIG |
| G108540 | 0-10000 PSIG |
| **SS units, Optional 0.01 Cv, Viton O-rings** | |
| G115012 | 0-2000 PSIG, PEEK Actuator Seal, (Teflon Cavity Seal) |
| G112371 | 0-4000 PSIG, Polyimide Actuator Seal |
| G112372 | 0-4000 PSIG, PEEK Actuator Seal |
| G114607 | 0-7500 PSIG, PEEK Actuator Seal |
| **SS units, Optional 0.12 Cv, Viton O-rings** | |
| G115525 | 0-7500 PSIG, Tefzel Actuator Seal, (Teflon Cavity Seal) |
| G115633 | 0-4000 PSIG, Peek Actuator Seal, (Viton Cavity Seal) |
| G115563 | 0-6000 PSIG, Peek Actuator Seal, (Viton Cavity Seal) |
|  |  |
| **Titanium units, standard 0.04 Cv, Polyimide Actuator Seal, Viton O-rings** | |
| G112679 | 0-6000 PSIG |
| **Miscellaneous Internal Parts** | |
| G111392 | SS Piston, 0-2000 PSIG |
| G103149 | SS Piston, 0-4000 PSIG |
| G109900 | SS Piston, 0-6000 PSIG |
| G109865 | SS Piston, 0-7500 PSIG |
| G109901 | SS Piston, 0-10,000 PSIG |
| G109908 | Actuator Seal, Polyimide (4000 and 6000 psig units) |
| G110483 | Actuator Seal, PEEK (4000 and 6000 psig units) |
| G109904 | Actuator Seal, Polyimide (7500 and 10,000 psig units) |
| G110482 | Actuator Seal, PEEK (7500 and 10,000 psig units) |
| G109906 | Actuator Seal Retainer, (4000 and 6000 psig units in SS) |
| G109903 | Actuator Seal Retainer, (7500 and10,000 psig units in SS) |
| G109902 | Seal Spacer, (7500 and10,000 psig units in SS) |
| G101923 | Seal Spacer, (4000 and 6,000 psig units in SS) |
| G109909 | Poppet Shim/Seal Shim, (7500 and10,000 psig units in SS) |
| G101490 | Poppet Shim/Seal Shim, (4000 and 6,000 psig units in SS) |
| G101925 | SEAT, SS, 0.04 Cv |
| G101926 | SEAT, Monel, 0.04 Cv |
| G110648 | SEAT, Titanium, 0.04 Cv |
| G101947 | SEAT, Hastelloy C, 0.04 Cv |
| G112070 | SEAT, SS, 0.12 Cv |
| G112071 | SEAT, Monel, 0.12 Cv |
| G112072 | SEAT, Titanium, 0.12 Cv |
| G113133 | SEAT, Hastelloy C, 0.12 Cv |
| G111640 | Seat & Teflon Lower Flat Seal Only, 0.005 Cv, SS |
| 58-030-45 | Cavity O-Ring,Viton |
| 58-030-76 | Cavity O-Ring,Teflon |
| **Cap/Bonnet Parts and Range Springs** | |
| G101334 | Spring Housing |
| G101146 | Range Spring |
| G101109 | Panel Mount Kit |
| G101142 | Adjusting Screw (Non S/R) ( Obsolete replaced by G101126 Above ) |
| G101135 | Spring Adjusting Nut |
| G101906 | Blue Anodized Aluminum Knob |
| G108080 | Captured Vent Conversion Kit |
| G018103 | Hex Cap Screw for Knob |
| G014008 | Thrust Bearing under Knob |
| G014009 | Thrust Washer under Knob ( 2pcs. Required with Bearing ) |
| G108374 | Captured Vent Panel Mount Bracket |
| G110507 | Speed Adjustment Handle Assembly |
|  |  |
| **CBP-3 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Stainless Steel Diaphragm Assemblies, Viton Actuator** | |
| G110119 | 10, 25 and 50 PSIG |
| G110120 | 100 and 250 PSIG |
| G110121 | 500 PSIG |
| **Stainless Steel Diaphragm Assemblies, Tefzel Actuator** | |
| G110122 | 10, 25 and 50 PSIG |
| G110123 | 100 and 250 PSIG (Cavity Seal not included.) |
| G109139 | 100 and 250 PSIG (Same as G110123 but With Teflon Cavity Seal) |
| G110125 | 500 PSIG |
| **Stainless Steel Diaphragm Assemblies, Kalrez Actuator** | |
| G110158 | 10, 25 and 50 PSIG |
| G110159 | 100 and 250 PSIG |
| G110160 | 500 PSIG |
| **Stainless Steel Diaphragm Assemblies, Polyimide Actuator** | |
| G110345 | 10, 25 and 50 PSIG |
| G110346 | 100 and 250 PSIG |
| G110347 | 500 PSIG |
| **Stainless Steel Diaphragm Assemblies, PEEK Actuator** | |
| G111862 | 10, 25 and 50 PSIG |
| G111863 | 100 and 250 PSIG |
| G111864 | 500 PSIG |
| G114563 | 500 PSIG Diaphragm Assembly with PEEK Actuator together with 0.2 Cv SS Seat Kit. |
| **Teflon Lined Viton Backed Diaphragm Assembly, SS Units** | |
| G110207 | 10, 25 and 50 PSIG, Viton Actuator |
| G110208 | 10, 25 and 50 PSIG, Tefzel Actuator |
| G110209 | 10, 25 and 50 PSIG, Kalrez Actuator |
| G111040 | 10, 25 and 50 PSIG, Polyimide Actuator |
| G112324 | 10, 25 and 50 PSIG, PEEK Actuator |
| **Monel Diaphragm Assemblies, Viton Actuator** | |
| G110126 | 10, 25, 50 and 100 PSIG |
| G110130 | 250 and 500 PSIG |
| **Monel Diaphragm Assemblies, Tefzel Actuator** | |
| G110131 | 10, 25, 50 and 100 PSIG |
| G110132 | 250 and 500 PSIG |
| **Monel Diaphragm Assemblies, Kalrez Actuator** | |
| G110161 | 10, 25, 50 and 100 PSIG |
| G110162 | 250 and 500 PSIG |
| **Monel Diaphragm Assemblies, Polyimide Actuator** | |
| G111043 | 10, 25, 50 and 100 PSIG |
| G111044 | 250 and 500 PSIG |
| **Monel Diaphragm Assemblies, PEEK Actuator** | |
| G111865 | 10, 25, 50 and 100 PSIG |
| G111866 | 250 and 500 PSIG |
| **Teflon Lined Viton Backed Diaphragm Assembly, Monel Units** | |
| G110210 | 10, 25 and 50 PSIG, Viton Actuator |
| G110211 | 10, 25 and 50 PSIG, Tefzel Actuator |
| G110212 | 10, 25 and 50 PSIG, Kalrez Actuator |
| G111041 | 10, 25 and 50 PSIG, Polyimide Actuator |
| G112325 | 10, 25 and 50 PSIG, PEEK Actuator |
| **Seat and Seal Kits** | |
| G108188 | 0.2 Cv, Stainless Steel |
| **Miscellaneous Internal Parts** | |
| G110019 | SEAT, 0.2 Cv, Stainless Steel |
| G111009 | SEAT, 0.03 Cv, Stainless Steel |
| G111010 | SEAT, 0.05 Cv, Stainless Steel |
| G111011 | SEAT, 0.06 Cv, Stainless Steel |
| G111012 | SEAT, 0.12 Cv, Stainless Steel |
| G111013 | SEAT, 0.095 Cv, Stainless Steel |
| G111014 | SEAT, 0.025 Cv, Stainless Steel |
| G111015 | SEAT, 0.04 Cv, Stainless Steel |
| G111016 | SEAT, 0.005 Cv, Stainless Steel |
| G111017 | SEAT, 0.01 Cv, Stainless Steel |
| G101167 | Teflon Lower Flat Seal |
| 58-025-45 | Viton Body Cavity O-ring |
| 58-025-76 | Teflon Body Cavity O-ring |
| **Cap/Bonnet Parts and Range Springs** | |
| G110837 | Cap, Black Anodized Aluminum Standard |
| G106174 | Tamper Proof Nut |
| G106179 | Tamper Proof Short Adjusting Screw Brass |
| G106184 | KNOB, Black Anodized Aluminum |
| G106186 | Adjusting Screw Standard, Brass |
| G018108 | Set Screw for Knob |
| G100890 | Range Spring, 10 AND 25 PSIG |
| G100892 | Range Spring, 100 PSIG |
| G100893 | Range Spring, 250 PSIG |
| G100891 | Range Spring, 50 PSIG |
| G100894 | Range Spring, 500 PSIG |
|  |  |
| **LB-1 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Stainless Steel Diaphragm Assemblies, Viton Actuator** | |
| G110119 | 10, 25 and 50 PSIG |
| G110120 | 100 and 250 PSIG |
| G110121 | 500 PSIG |
| **Stainless Steel Diaphragm Assemblies, Tefzel Actuator** | |
| G110122 | 10, 25 and 50 PSIG |
| G110123 | 100 and 250 PSIG |
| G110125 | 500 PSIG |
| **Stainless Steel Diaphragm Assemblies, Kalrez Actuator** | |
| G110158 | 10, 25 and 50 PSIG |
| G110159 | 100 and 250 PSIG |
| G110160 | 500 PSIG |
| **Stainless Steel Diaphragm Assemblies, Polyimide Actuator** | |
| G110345 | 10, 25 and 50 PSIG |
| G110346 | 100 and 250 PSIG |
| G110347 | 500 PSIG |
| **Teflon Lined Viton Backed Diaphragm Assembly, SS Units** | |
| G110207 | 10, 25 and 50 PSIG, Viton Actuator |
| G110208 | 10, 25 and 50 PSIG, Tefzel Actuator |
| G110209 | 10, 25 and 50 PSIG, Kalrez Actuator |
| G111040 | 10, 25 and 50 PSIG, Polyimide Actuator |
| **Seat and Seal Kits** | |
| G108188 | 0.2 Cv, Stainless Steel |
| **Miscellaneous Internal Parts** | |
| G110019 | SEAT, 0.2 Cv, Stainless Steel |
| G111009 | SEAT, 0.03 Cv, Stainless Steel |
| G111010 | SEAT, 0.05 Cv, Stainless Steel |
| G111011 | SEAT, 0.06 Cv, Stainless Steel |
| G111012 | SEAT, 0.12 Cv, Stainless Steel |
| G111013 | SEAT, 0.095 Cv, Stainless Steel |
| G111014 | SEAT, 0.025 Cv, Stainless Steel |
| G111015 | SEAT, 0.04 Cv, Stainless Steel |
| G111016 | SEAT, 0.005 Cv, Stainless Steel |
| G111017 | SEAT, 0.01 Cv, Stainless Steel |
| G101167 | Teflon Lower Flat Seal |
| 58-025-45 | Viton Body Cavity O-ring |
| 58-025-76 | Teflon Body Cavity O-ring |
| **Cap/Bonnet Parts and Range Springs** | |
| G110834 | Bonnet, SS |
| G110837 | Bonnet, ALUM |
| G110881 | Panel Mount Bonnet, SS |
| G110882 | Panel Mount Bonnet, ALUM |
| G111003 | Adjusting Screw , Standard |
| G111004 | Knob, Standard |
| G018253 | Set Screw for Standard Knob |
| G110939 | Tamper Proof Adjusting Screw |
| G106174 | Tamper Proof Nut |
| G110870 | T-Handle Adjusting Assembly |
| G107683 | Panel Mount Nut |
| G100286 | Panel Mount Washer |
| G100890 | Range Spring, 10 AND 25 PSIG |
| G100892 | Range Spring, 100 PSIG |
| G100893 | Range Spring, 250 PSIG |
| G100891 | Range Spring, 50 PSIG |
| G100894 | Range Spring, 500 PSIG |
|  |  |
| **SBPR Spare Parts** | |
| **Diaphragm Assemblies** | |
| G107895 | Teflon Lined/Stainless Steel Backed with Teflon Actuator |
| G107897 | Teflon Lined/Stainless Steel Backed with Viton Actuator |
| G112877 | Teflon Lined/Stainless Steel Backed with Kalrez Actuator |
| G107896 | Teflon Lined/Viton Backed with Teflon Actuator |
| G107898 | Teflon Lined/Viton Backed with Viton Actuator |
| G114559 | Teflon Lined/Inconel Backed/Monel Actuator with Viton Actuator Seal (For Monel Units) |
| G102498 | Teflon Lined / Hastelloy C Backed with Teflon Actuator |
| **Seat and Seal Kits** | |
| G108697 | 0.2 Cv Seat and Teflon Lower Flat Seal (SS and Brass units) |
| G108719 | 0.2 Cv Seat and Teflon Lower Flat Seal (Monel) |
| **Miscellaneous Internal Parts** | |
| G109905 | 0.03 Cv SS Seat only. No Teflon flat seal. |
| G101967 | 0.05 Cv SS Seat only. No Teflon flat seal. |
| G109933 | 0.06 Cv SS Seat only. No Teflon flat seal. |
| G101968 | 0.12 Cv SS Seat only. No Teflon flat seal. |
| G101190 | 0.2 Cv SS Seat only. No Teflon flat seal. |
| G111837 | 0.24 Cv SS Seat only. No Teflon flat seal. |
| G110554 | 0.3 Cv SS Seat only. No Teflon flat seal. |
| G110748 | 0.095 Cv SS Seat only. No Teflon flat seal. |
| G109580 | 0.025 Cv SS Seat only. No Teflon flat seal. |
| G110663 | 0.04 Cv SS Seat only. No Teflon flat seal. |
| G110895 | 0.005 Cv SS Seat only. No Teflon flat seal. |
| G110638 | 0.01 Cv SS Seat only. No Teflon flat seal. |
| G101167 | Teflon Lower Flat Seal |
| G103839 | SUB SEAT - Stainless Steel |
| G082405 | Teflon Sub Seat Seal Ring |
| **Cap/Bonnet Parts and Range Springs** | |
| G109802-1 | Blue Plastic Knob |
| G101746 | SS ADJUSTING SCREW |
| G103594 | P/M CAP KIT |
| G103903 | Stainless Steel Cap |
| G103904 | Stainless Steel Cap with Panel Mount option (P/M Nuts not included) |
| G103940 | Stainless Steel Cap for Fine Adjustment Option |
| G100686 | Fine Adjustment Mounting Sleeve |
| G100687 | Adjusting Screw for Fine Adjust option |
| G070001 | Fine Adjustment Black Knob |
| G103838 | METAL KNOB, BLUE, Aluminum |
| G103944 | METAL Panel Mount KNOB, BLUE, Aluminum |
| G100891 | Range Spring, 1-30 PSIA |
| G100386 | Under Diaphragm Spring (Standard for all Brass and SS Units) Larger spring |
| G106604 | Vacuum Assist Spring (Standard for all Brass and SS Units) Smaller spring. |
|  |  |
| **CYL-1, CYL-2, CYL-20 and CYL-21 Spare Parts** | |
| **Diaphragm Assemblies** (Note: Two stage units will require a Diaphragm Assembly for each stage.) | |
| **Standard Stainless Steel/Teflon Lined Diaphragm Assemblies** | |
| G102380 | 10 PSIG |
| G100040 | 25, 50 and 100 PSIG |
| G100042 | 250 PSIG |
| G100044 | 500 PSIG (First Stage Standard for 10, 25, 50, 100, and 250 PSIG Units) |
| G106338 | 750 PSIG Repair Kit (Includes the Belleville Washers) (First Stage Only for 500 PSIG Units) |
| G106339 | 750 PSIG (Diaphragm Assembly Only) (First Stage Only for 500 PSIG Units) |
| **Monel/Teflon Lined Diaphragm Assemblies** | |
| G100041 | 25, 50 and 100 PSIG |
| G100043 | 250 PSIG |
| G100045 | 500 PSIG |
| G111944 | 750 & 1000 PSIG (First Stage Only) |
| **Stainless Steel/Tefzel Seal Ring Diaphragm Assemblies** | |
| G102381 | 10 PSIG |
| G102382 | 25, 50 and 100 PSIG |
| G102383 | 250 PSIG |
| G102384 | 500 PSIG |
| **Stainless Steel/Teflon Lined Self Relieving Diaphragm Assemblies** | |
| G100989 | 10 PSIG |
| G100990 | 25, 50 and 100 PSIG |
| G100991 | 250 PSIG |
| G100992 | 500 PSIG |
| G110826 | 750 PSIG (First Stage Only) |
| **Stainless Steel/Teflon Lined Liquid Service Diaphragm Assemblies** | |
| G103776 | 0-10 PSIG |
| G107473 | 25, 50 and 100 PSIG |
| G107488 | 250 PSIG |
| G107486 | 500 PSIG |
| G110827 | 750 PSIG (First Stage Only) |
| **Poppet, Seat and Spring Kits** (Note: Two stage units will require a Poppet kit for each stage.) | |
| **SS and Brass units with 0.06 Cv** | |
| G102630 | Tefzel Seat |
| G100316 | High Density Teflon Seat |
| G102635 | Ceramic Filled Teflon Seat |
| G102640 | Polyimide Seat |
| G108112 | PCTFE (Formerly Kel-F) Seat |
| G107869 | PEEK Seat |
| **SS and Brass units with 0.2 Cv** | |
| G103013 | Tefzel Seat |
| G102597 | Ceramic Filled Teflon Seat |
| G109035 | PEEK Seat |
| G106307 | Polyimide Seat |
| G112500 | PCTFE (Formerly Kel-F) Seat |
| **SS and Brass units with 0.025 Cv** | |
| G109808 | Tefzel Seat |
| G109713 | Ceramic Filled Teflon Seat |
| G109714 | Polyimide Seat |
| **SS and Brass units with 0.5 Cv** | |
| G107846 | Tefzel Seat |
| G107849 | Ceramic Filled Teflon Seat |
| G107847 | Polyimide Seat |
| G107848 | PCTFE (Formerly Kel-F) Seat |
| **Monel Units** |  |
| G102631 | Tefzel Seat, 0.06 Cv |
| G102636 | Ceramic Filled Teflon Seat, 0.06 Cv |
| G102641 | Polyimide Seat, 0.06 Cv |
| G112204 | PEEK Seat, 0.06 Cv |
| G112860 | PCTFE (Formerly Kel-F) Seat, 0.06 Cv |
| G102649 | Tefzel Seat, 0.2 Cv |
| G107893 | Ceramic Filled Teflon Seat, 0.2 Cv |
| **Self Relieving Kits and Parts** | |
| G100970 | SS, 0.06 Cv, Tefzel Seat, 0-25 PSIG KIT |
| G100971 | SS, 0.06 Cv, Tefzel Seat, 0-50 PSIG KIT |
| G100972 | SS, 0.06 Cv, Tefzel Seat, 0-100 PSIG KIT |
| G100973 | SS, 0.06 Cv, Tefzel Seat, 0-250 PSIG KIT |
| G100974 | SS, 0.06 Cv, Tefzel Seat, 0-500 PSIG KIT |
| G101000 | SS, 0.2 Cv, Tefzel Seat, 0-25 PSIG |
| G101001 | SS, 0.2 Cv, Tefzel Seat, 0-50 PSIG |
| G101002 | SS, 0.2 Cv, Tefzel Seat, 0-100 PSIG KIT |
| G101003 | SS, 0.2 Cv, Tefzel Seat, 0-250 PSIG KIT |
| G101004 | SS, 0.2 Cv, Tefzel Seat, 0-500 PSIG KIT |
| G100966 | SS Self Relieving Actuator |
| G100967 | SS Self Relieving Button |
| G100968 | SS Self Relieving Button ASSY w/Poppet |
| G109813 | SS Self Relieving Poppet S/R 0.2 Cv (Threaded poppet only) |
| **Captured Vent Kits and Parts** | |
| G100856 | Captured Vent SS ADJ SCREW |
| G100863 | Captured Vent BRASS ADJ SCREW |
| G100864 | Captured Vent NYLON SLIP RING |
| G100998 | Captured Vent Black Anodized Aluminum Cap (Cap Only, No Nut) |
| G108940 | Captured Vent Complete Cap Kit - Black Anodized Aluminum |
| G109125 | Captured Vent Complete Cap Kit - Stainless Steel - With Knob |
| G112328 | Captured Vent Complete Cap Kit - Stainless Steel - Tamper Proof |
| **Diaphragm Attached Poppet Kits** | |
| G103470 | 25 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| G103471 | 50 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| G103472 | 100 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| G103473 | 250 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| G103474 | 500 PSIG DAP Repair Kit (Diaphragm and Poppet Kit, Tefzel Seat, 0.06 Cv) |
| **Seats** |  |
| G103688 | Tefzel Seat, 0.06 Cv |
| G103687 | Tefzel Seat, 0.2 Cv |
| G109058 | Tefzel Seat, 0.025 Cv |
| G110286 | Tefzel Seat, 0.5 Cv |
| G101168 | Ceramic Filled Teflon Seat, 0.06 Cv |
| G101169 | Ceramic Filled Teflon Seat, 0.2 Cv |
| G109059 | Ceramic Filled Teflon Seat, 0.025 Cv |
| G110283 | Ceramic Filled Teflon Seat, 0.5 Cv |
| G101156 | Polyimide Seat, 0.06 Cv |
| G101157 | Polyimide Seat, 0.2 Cv |
| G109060 | Polyimide Seat, 0.025 Cv |
| G110284 | Polyimide Seat, 0.5 Cv |
| G101162 | High Density Teflon Seat, 0.06 Cv |
| G101163 | High Density Teflon Seat, 0.2 Cv |
| G109057 | High Density Teflon Seat, 0.025 Cv |
| G110282 | High Density Teflon Seat, 0.5 Cv |
| G101199 | PCTFE (Formerly Kel-F) Seat, 0.06 Cv |
| G103689 | PCTFE (Formerly Kel-F) Seat, 0.2 Cv |
| G101158 | PCTFE (Formerly Kel-F) Seat, 0.025 Cv |
| G110285 | PCTFE (Formerly Kel-F) Seat, 0.5 Cv |
| G110478 | PEEK Seat, 0.06 Cv |
| G110479 | PEEK Seat, 0.2 Cv |
| G110477 | PEEK Seat, 0.025 Cv |
| G110480 | PEEK Seat, 0.5 Cv |
| **Miscellaneous Internal Parts** | |
| G100928 | Diaphragm Nut, Stainless Steel, (Optional) |
| G110740 | LOWER FLAT SEAL, PEEK |
| G101167 | LOWER FLAT SEAL, Teflon (Standard used in all units) |
| G101047 | POPPET SPRING Hastelloy C |
| G106310 | POPPET SPRING Inconel (Standard used in all Stainless Steel and Monel units) |
| G101048 | POPPET SPRING Titanium |
| G109799 | POPPET, Stainless Steel, 0.025 Cv |
| G100020 | POPPET, Stainless Steel, 0.06 Cv |
| G102598 | POPPET, Stainless Steel, 0.2 Cv |
| G110295 | POPPET, Stainless Steel, 0.5 Cv |
| G101175 | SEAT HOLDER, MONEL |
| G101161 | SEAT HOLDER, Stainless Steel |
| G102332 | SEAT Retainer, MONEL, 0.06 Cv |
| G102333 | SEAT Retainer, MONEL, 0.2 Cv |
| G109801 | SEAT RETAINER, Stainless Steel, 0.025 Cv |
| G102330 | Seat Retainer, Stainless Steel, 0.06 Cv |
| G102331 | Seat Retainer, Stainless Steel, 0.2 Cv |
| G110279 | SEAT RETAINER, Stainless Steel, 0.5 Cv |
| G100925 | SPRING BUTTON, Stainless Steel, (Optional) |
| G107331 | TEFZEL SEALING RING, Outer seal ring for Diaphragm |
| G107330 | TEFZEL SEALING RING, Inner seal ring for Diaphragm |
| G110814 | VACUUM ASSIST SPRING |
| G101364 | 1/8" FNPT 40 Micron Inlet Filter Kit (Interstage Filter) |
| G103596 | 1/4" FNPT 20 Micron Inlet Filter Kit (For Inlet port) |
| **Cap/Bonnet Parts and Range Springs** | |
| G106816 | Adj Screw Short, SS, (For tamper proof option, std for first stage of SS 2 stage units.) |
| G106815 | ADJ SCREW, Stainless Steel (Standard Adjusting Screw) |
| G102521 | CAP ASSEMBLY, Complete, Stainless Steel |
| G103029 | CAP, For Fine adjust insert. (Insert not included) |
| G102526 | CAP ASSEMBLY, Panel Mount, Complete, Stainless Steel |
| G103920 | CAP, Stainless Steel (Standard Cap for all SS units) |
| G100687 | Fine Adjust adjusting screw for G103029 Cap Assy |
| G100686 | Fine Adjust insert for G103029 Cap |
| G109802-1 | Blue Plastic Knob |
| G103838 | METAL KNOB, BLUE, Aluminum |
| G103944 | METAL Panel Mount KNOB, BLUE, Aluminum |
| G100890 | Range Spring, 10 AND 25 PSIG (Standard for all C1 and C2 units) |
| G100892 | Range Spring, 100 PSIG (Standard for all C1 and C2 units) |
| G100893 | Range Spring, 250 PSIG (Standard for all C1 and C2 units) |
| G100891 | Range Spring, 50 PSIG (Standard for all C1 and C2 units) |
| G100894 | Range Spring, 500 PSIG (Standard for all C1 and C2 units) |
|  |  |
| **CYL-3 Spare Parts** | |
| **Poppet Seat and Spring Kit** | |
| **Units with 0.06 Cv** | |
| G102630 | Tefzel Seat |
| G100316 | High Density Teflon Seat |
| **Units with 0.2 Cv** |  |
| G103013 | Tefzel Seat |
| **Piston Seal Kit** |  |
| G101864 | PISTON SEAL KIT |
| **Miscellaneous Internal Parts** | |
| G101167 | LOWER FLAT SEAL, Teflon (Standard used in all units) |
| G106310 | POPPET SPRING Inconel (Standard used in all units) |
| G100020 | POPPET, Stainless Steel, 0.06 Cv |
| G102598 | POPPET, Stainless Steel, 0.2 Cv |
| G101161 | SEAT HOLDER, Stainless Steel |
| G102330 | Seat Retainer, Stainless Steel, 0.06 Cv |
| G102331 | Seat Retainer, Stainless Steel, 0.2 Cv |
| G103596 | 1/4" FNPT 20 Micron Inlet Filter Kit (For Inlet port) |
| **Cap/Bonnet Parts and Range Springs** | |
| G101790 | Cap to Body GASKET |
| G101862 | Spring Stabilizer (For units with two range springs, 0-100 and 0-250 psig units.) |
| G101798 | 500 thru 2000 PSIG Range Spring |
| G100893 | 100 PSIG Range Spring (2 required with 1 pc G101862 spring stabilizer.) |
| G100894 | 250 PSIG Range Spring (2 required with 1 pc G101862 spring stabilizer.) |
| G101791 | Standard Brass Cap |
| G101792 | Cap Nut for Standard Brass Cap |
| G101861 | Adjusting Handle Assembly |
| G107684 | Panel Mount Nut - Aluminum |
|  |  |
| **CC-2 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Standard Stainless Steel Diaphragm Assemblies** | |
| G110005 | 10, 25, and 50 PSIG |
| G110006 | 100 and 250 PSIG |
| G110007 | 500 PSIG (First Stage Only) |
| **Stainless Steel/Teflon Lined (optional)** | |
| G111097 | 10, 25, and 50 PSIG |
| G111098 | 100 and 250 PSIG |
| G111099 | 500 PSIG (First Stage Only) |
| **Replacement Kits** | |
| **0.06 Cv, Tefzel Seat (Poppet Kit and Diaphragm Assembly) (Kits are for one stage only.)** | |
| G103725 | 10, 25 and 50 PSIG |
| G103726 | 100 and 250 PSIG |
| G103727 | 500 PSIG (First Stage Only) |
| **Seats** |  |
| G103688 | Tefzel Seat, 0.06 Cv |
| G103687 | Tefzel Seat, 0.2 Cv |
| G109058 | Tefzel Seat, 0.025 Cv |
| G101199 | PCTFE (Formerly Kel-F) Seat, 0.06 Cv |
| G103689 | PCTFE (Formerly Kel-F) Seat, 0.2 Cv |
| G110478 | PEEK Seat, 0.06 Cv |
| G110479 | PEEK Seat, 0.2 Cv |
| **Miscellaneous Internal Parts** | |
| G101167 | LOWER FLAT SEAL, Teflon (Standard used in all units) |
| G106310 | POPPET SPRING Inconel (Standard used in all units.) |
| G110264 | POPPET, Stainless Steel, 0.025 Cv |
| G110022 | POPPET, Stainless Steel, 0.06 Cv |
| G110219 | POPPET, Stainless Steel, 0.2 Cv |
| G101161 | SEAT HOLDER, Stainless Steel |
| G109801 | SEAT RETAINER, Stainless Steel, 0.025 Cv |
| G102330 | Seat Retainer, Stainless Steel, 0.06 Cv |
| G102331 | Seat Retainer, Stainless Steel, 0.2 Cv |
| G107330 | TEFZEL SEALING RING, Inner seal ring for Diaphragm |
| G107698 | Diaphragm Slip Ring - Nylon Standard |
| G110310 | Diaphragm Slip Ring BLACK POLYIMIDE for High Temp |
| G112407 | Poppet, Seat and Spring Kit, PCTFE .06Cv Seat |
| 58-025-45 | Viton Body Cavity O-ring |
| 58-025-76 | Teflon Body Cavity O-ring |
| G101364 | 1/8" FNPT 40 Micron Inlet Filter Kit |
| **Cap/Bonnet Parts and Range Springs** | |
| G110837 | Cap, Black Anodized Aluminum Standard |
| G106174 | Tamper Proof Nut (First Stage) |
| G106179 | Tamper Proof Short Adjusting Screw Brass (First Stage) |
| G106184 | KNOB, Black Anodized Aluminum |
| G106186 | Adjusting Screw Standard, Brass |
| G018108 | Set Screw for Knob |
| G100890 | Range Spring, 10 AND 25 PSIG |
| G100892 | Range Spring, 100 PSIG |
| G100893 | Range Spring, 250 PSIG |
| G100891 | Range Spring, 50 PSIG |
| G100894 | Range Spring, 500 PSIG (First Stage Only) |
|  |  |
| **COM-1 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Standard Stainless Steel/Teflon Lined Diaphragm Assemblies** | |
| G102380 | 10 PSIG |
| G100040 | 25, 50 and 100 PSIG |
| G100042 | 250 PSIG |
| **Stainless Steel/Tefzel Seal Ring Diaphragm Assemblies** | |
| G102381 | 10 PSIG |
| G102382 | 25, 50 and 100 PSIG |
| G102383 | 250 PSIG |
| **Poppet, Seat, and Spring Kits** | |
| **Stainless Steel units with 0.06 Cv** | |
| G102630 | Tefzel Seat |
| G100316 | High Density Teflon Seat |
| G102635 | Ceramic Filled Teflon Seat |
| G102640 | Polyimide Seat |
| G108112 | PCTFE (Formerly Kel-F) Seat |
| G107869 | PEEK Seat |
| **Stainless Steel units with 0.2 Cv** | |
| G103013 | Tefzel Seat |
| G102597 | Ceramic Filled Teflon Seat |
| G109035 | PEEK Seat |
| G106307 | Polyimide Seat |
| G112500 | PCTFE (Formerly Kel-F) Seat |
| **Stainless Steel units with 0.025 Cv** | |
| G109808 | Tefzel Seat |
| G109713 | Ceramic Filled Teflon Seat |
| G109714 | Polyimide Seat |
| **Cap/Bonnet Parts and Range Springs** | |
| G074202 | SS Acorn Nut (For Tamper Proof Side) |
| G106816 | ADJ SCREW SHORT, Stainless Steel, (For Tamper Proof side) |
| G106815 | ADJ SCREW, Stainless Steel (For side with control knob) |
| G103920 | CAP, Stainless Steel (For Tamper Proof Side) |
| G110142 | CAP, Stainless Steel (For Control Knob Side) |
| G110143 | Blue Metal Knob |
| G110683 | Standard Pry Out Plug Assembly with Black GO Logo/Arrow for Control Knob Side of Combo Reg. |
| G100890 | Range Spring, 10 AND 25 PSIG |
| G100891 | Range Spring, 50 PSIG |
| G100892 | Range Spring, 100 PSIG |
| G100893 | Range Spring, 250 PSIG |
| **Miscellaneous Parts** | |
| G110038 | MOUNTING BRACKET |
| G110039 | Cross-over Connector |
| G103596 | 1/4" FNPT 20 Micron Inlet Filter Kit (For one Inlet port) |
|  |  |
| **COM-2 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Standard Stainless Steel/Teflon Lined Diaphragm Assemblies** | |
| G102380 | 10 PSIG |
| G100040 | 25, 50 and 100 PSIG |
| G100042 | 250 PSIG |
| G100044 | 500 PSIG (Used in the Combination Regulator) |
| **Stainless Steel/Tefzel Seal Ring Diaphragm Assemblies** | |
| G102381 | 10 PSIG |
| G102382 | 25, 50 and 100 PSIG |
| G102383 | 250 PSIG |
| G102384 | 500 PSIG |
| **Poppet, Seat, and Spring Kits (Outlet Regulator Only)** | |
| **Stainless Steel units with 0.06 Cv** | |
| G102630 | Tefzel Seat |
| G100316 | High Density Teflon Seat |
| G102635 | Ceramic Filled Teflon Seat |
| G102640 | Polyimide Seat |
| G108112 | PCTFE (Formerly Kel-F) Seat |
| G107869 | PEEK Seat |
| **Stainless Steel units with 0.2 Cv** | |
| G103013 | Tefzel Seat |
| G102597 | Ceramic Filled Teflon Seat |
| G109035 | PEEK Seat |
| G106307 | Polyimide Seat |
| G112500 | PCTFE (Formerly Kel-F) Seat |
| **Stainless Steel units with 0.025 Cv** | |
| G109808 | Tefzel Seat |
| G109713 | Ceramic Filled Teflon Seat |
| G109714 | Polyimide Seat |
| **Poppet, Seat, and Spring Kits (Combination Regulator Only)** | |
| **Stainless Steel units with 0.06 Cv** | |
| G102715 | Tefzel Seat |
| G102645 | Ceramic Filled Teflon Seat |
| G102716 | Polyimide Seat |
| G102265 | PCTFE (Formerly Kel-F) Seat |
| G106743 | PEEK Seat |
| **Cap/Bonnet Parts and Range Springs** | |
| G074202 | SS Acorn Nut (For Tamper Proof Side of Combination Regulator) |
| G106816 | ADJ SCREW SHORT, Stainless Steel, (For Tamper Proof side of Combination Regulator) |
| G106815 | ADJ SCREW, Stainless Steel (For Combination Reg with control knob and outlet regulator.) |
| G103920 | CAP, Stainless Steel (For Outlet Regulator) |
| G103922 | CAP, Stainless Steel Panel Mount (For Tamper Proof Side of Combination Regulator) |
| G110142 | CAP, Stainless Steel (For Control Knob Side of Combination Regulator) |
| G110143 | Blue Metal Knob (For Control Knob side of Combination Regulator) |
| G109802-1 | Blue Plastic Knob (For Outlet Regulator) |
| G110683 | Standard Pry Out Plug Assembly with Black GO Logo/Arrow for Control Knob Side of Combo Reg. |
| G100890 | Range Spring, 10 AND 25 PSIG |
| G100891 | Range Spring, 50 PSIG |
| G100892 | Range Spring, 100 PSIG |
| G100893 | Range Spring, 250 PSIG |
| G100894 | Range Spring, 500 PSIG (Used in Combination Regulator) |
| **Miscellaneous Parts** | |
| G110363 | COM2B Mounting Bracket |
| G110407 | COM2P Mounting Panel |
| G046236 | Cross-over Connector/Hex Nipple |
| G103596 | 1/4" FNPT 20 Micron Inlet Filter Kit (For one Inlet port) |
|  |  |
| **HPR-2 Spare Parts** | |
| **Diaphragm Assemblies** | |
| **Standard Stainless Steel/Teflon Lined Diaphragm Assemblies** | |
| G102380 | 10 PSIG |
| G100040 | 25, 50 and 100 PSIG |
| G100042 | 250 PSIG |
| G100044 | 500 PSIG |
| G106338 | 750 PSIG Repair Kit (Includes the Belleville Washers) |
| G106339 | 750 PSIG (Diaphragm Assembly Only) |
| **Monel/Teflon Lined Diaphragm Assemblies** | |
| G100041 | 10, 25, 50 and 100 PSIG |
| G100043 | 250 PSIG |
| G100045 | 500 PSIG |
| **Hastelloy C/Teflon Lined Diaphragm Assemblies** | |
| G103393 | 10, 25, 50 and 100 PSIG |
| G103394 | 250 PSIG |
| G103395 | 500 PSIG |
| **Hastelloy B/Teflon Lined Diaphragm Assemblies** | |
| G100456 | 10, 25, 50, and 100 PSIG |
| G100457 | 250 PSIG |
| G100458 | 500 PSIG |
| **Stainless Steel/Tefzel Seal Ring Diaphragm Assemblies** | |
| G102381 | 10 PSIG |
| G102382 | 25, 50 and 100 PSIG |
| G102383 | 250 PSIG |
| G102384 | 500 PSIG |
| **Poppet, Seat, and Spring Kits** | |
| **Stainless Steel units with 0.06 Cv** | |
| G102715 | Tefzel Seat |
| G102645 | Ceramic Filled Teflon Seat |
| G102716 | Polyimide Seat |
| G102265 | PCTFE (Formerly Kel-F) Seat |
| G106743 | PEEK Seat |
| G115351 | High Density Teflon Seat |
| **Stainless Steel units with 0.2 Cv** | |
| G111954 | Polyimide Seat |
| G102652 | Ceramic Filled Teflon Seat |
| G114242 | PEEK Seat |
| G114448 | Tefzel Seat |
| G113791 | PCTFE (Formerly Kel-F) Seat |
| **Stainless Steel units with 0.5 Cv** | |
| G114241 | Tefzel Seat |
| **Stainless Steel units with 0.025 Cv** | |
| G112628 | Tefzel Seat (Same as kit G112629) |
| G106656 | Ceramic Filled Teflon Seat |
| G114210 | PEEK Seat |
| G115253 | PCTFE (Formerly Kel-F) Seat |
| **Monel units with 0.06 Cv** | |
| G107539 | Tefzel Seat |
| G106240 | Ceramic Filled Teflon Seat (Same as G102646) |
| G102653 | Polyimide Seat |
| **Hastelloy C units with 0.06 Cv** | |
| G115646 | Polyimide Seat |
| G102647 | Ceramic Filled Teflon Seat |
| **Standard Temperature Controller Kits for Electrically Heated Units** | |
| **120 Volt AC Units** |  |
| G101870-1 | 55-85 F, Range A |
| G101871-1 | 75-175 F, Range B |
| G101872-1 | 130-300 F, Range C |
| G101873-1 | 260-380 F, Range D |
| **240 Volt AC Units** |  |
| G101874-1 | 55-85 F, Range A |
| G101875-1 | 75-175 F, Range B |
| G101876-1 | 130-300 F, Range C |
| G101877-1 | 260-380 F, Range D |
| **Proportional Temperature Controller Kits for Electrically Heated Units** | |
| **120 Volt AC Units** |  |
| G109889-1 | 55-85 F, Range A |
| G109890-1 | 75-175 F, Range B |
| G109891-1 | 130-300 F, Range C |
| G109892-1 | 260-380 F, Range D |
| **240 Volt AC Units** |  |
| G109893-1 | 55-85 F, Range A |
| G109894-1 | 75-175 F, Range B |
| G109895-1 | 130-300 F, Range C |
| G109896-1 | 260-380 F, Range D |
| **Standard Heater/Thermistor Kits for Electrically Heated Units** | |
| **120 Volt AC Units** |  |
| G108514 | 40 Watt, (Replaces 106849) |
| G108512 | 50 Watt, (Replaces 106844) |
| G108510 | 100 Watt, (Replaces 106842) |
| G108524 | 150 Watt, (Replaces 108516 and 106695) TCO Option required at 150 Watts |
| **120 Volt AC Units (Special with 36" Lead Length)** | |
| G110239 | 100 Watt Standard (NON TCO) |
| **240 Volt AC Units** |  |
| G108515 | 40 Watt, (Replaces 106850) |
| G108513 | 50 Watt, (Replaces 106845) |
| G108511 | 100 Watt, (Replaces 106843) |
| G108525 | 150 Watt, (Replaces 108517 and 106696) TCO Option required at 150 Watts |
| **Optional TCO Heater/Thermistor Kits for Electrically Heated Units** | |
| **120 Volt AC Units** |  |
| G108522 | 40 Watt |
| G108520 | 50 Watt |
| G108518 | 100 Watt |
| G108524 | 150 Watt |
| G114941 | 200 Watt |
| G114943 | 250 Watt |
| **120 Volt AC Units (Special with 36" Lead Length)** | |
| G115354 | 50 Watt With TCO Option |
| G115340 | 150 Watt With TCO Option |
| **240 Volt AC Units** |  |
| G108523 | 40 Watt |
| G108521 | 50 Watt |
| G108519 | 100 Watt |
| G108525 | 150 Watt |
| G114942 | 200 Watt |
| G114944 | 250 Watt |
| **240 Volt AC Units (Special with 36" Lead Length)** | |
| G115673 | 150 Watt With TCO Option |
|  |  |
| **Heat Exchange Assemblies and Related Parts** | |
| **Electrically Heated Stainless Steel Units** | |
| G106828 | No Electronics or Condulet |
| G107281 | No Electronics or Condulet for HPR2XW, Without Vaporizer Screen Assembly |
| G107271 | Vaporizer Screen Assembly for G107281 above |
| G107258 | Teflon Vaporizer Screen Assembly Seal for G107271 above |
| G103949 | HPR2XW Vaporizer Screen Assembly Kit - SS (Includes G107271 and G107258) |
| G108061 | Vaporizer Screen Assembly for Low Volume HPR-2XW (Seal assembly is G107258) |
| G107031 | 55-85 F, 120 Volt AC, 100 Watt, Non TCO, w/Condulet |
| G107032 | 75-175 F, 120 Volt AC, 100 Watt, Non TCO, w/Condulet |
| G107033 | 130-300 F, 120 Volt AC, 100 Watt, Non TCO, w/Condulet |
| G107034 | 260-380 F, 120 Volt AC, 100 Watt, Non TCO, w/Condulet |
| G107035 | 55-85 F, 240 Volt AC, 100 Watt, Non TCO, w/Condulet |
| G107036 | 75-175 F, 240 Volt AC, 100 Watt, Non TCO, w/Condulet |
| G107037 | 130-300 F, 240 Volt AC, 100 Watt, Non TCO, w/Condulet |
| G115438 | 130-300 F, 240 Volt AC, 100 Watt, With TCO, w/Condulet |
| G107038 | 260-380 F, 240 Volt AC, 100 Watt, Non TCO, w/Condulet |
| G026000 | Cinch Connector |
| G026004 | Stand Off |
| G026006 | Terminal Block - Single |
| G107021 | Teflon O-ring Kit (O-rings between Pressure Controller and Heat Exchange Assembly) |
| **Steam Heated Stainless Steel Units** | |
| G107030 | Standard Steam Heated Block Assembly |
| G107276 | Standard Steam Heated HPR2XW Block Assembly, Without Vaporizer Screen Assembly |
| G107271 | Vaporizer Screen Assembly for G107276 above |
| G107258 | Teflon Vaporizer Screen Assembly Seal for G107271 above |
| G103949 | HPR2XW Vaporizer Screen Assembly Kit - SS (Includes G107271 and G107258) |
| G108061 | Vaporizer Screen Assembly for Low Volume HPR-2XW (Seal assembly is G107258) |
| G110735 | Low Volume Steam Heated Unit W/O Integral F-6K Filter |
| G112543 | HPR2XW Low Volume Steam Heated Unit W/O Integral F-6K Filter and Vaporizer Screen |
| **Pressure Control Assemblies and Related Parts** | |
| G107131 | 25 PSIG Range, Tefzel Seat with 0.06 Cv, Stainless Steel |
| G107132 | 50 PSIG Range, Tefzel Seat with 0.06 Cv, Stainless Steel |
| G107133 | 100 PSIG Range, Tefzel Seat with 0.06 Cv, Stainless Steel |
| G107134 | 250 PSIG Range, Tefzel Seat with 0.06 Cv, Stainless Steel |
| G107135 | 500 PSIG Range, Tefzel Seat with 0.06 Cv, Stainless Steel |
| G107136 | 25 PSIG Range, CF Teflon Seat with 0.06 Cv, Stainless Steel |
| G107137 | 50 PSIG Range, CF Teflon Seat with 0.06 Cv, Stainless Steel |
| G107138 | 100 PSIG Range, CF Teflon Seat with 0.06 Cv, Stainless Steel |
| G107139 | 250 PSIG Range, CF Teflon Seat with 0.06 Cv, Stainless Steel |
| G107140 | 500 PSIG Range, CF Teflon Seat with 0.06 Cv, Stainless Steel |
| G107141 | 25 PSIG Range, Polyimide Seat with 0.06 Cv, Stainless Steel |
| G107142 | 50 PSIG Range, Polyimide Seat with 0.06 Cv, Stainless Steel |
| G107143 | 100 PSIG Range, Polyimide Seat with 0.06 Cv, Stainless Steel |
| G107144 | 250 PSIG Range, Polyimide Seat with 0.06 Cv, Stainless Steel |
| G107145 | 500 PSIG Range, Polyimide Seat with 0.06 Cv, Stainless Steel |
| **Cap/Bonnet Parts and Range Springs** | |
| G106816 | Short Adjusting Screw, SS, (Standard Adjusting Screw) |
| G074202 | SS Acorn Nut |
| G106815 | Long Adjusting Screw, Stainless Steel, Optional for units with Control Knobs |
| G103920 | CAP, Stainless Steel (Standard Cap for all SS units) |
| G103838 | METAL KNOB, BLUE, Aluminum |
| G103944 | METAL Panel Mount KNOB, BLUE, Aluminum |
| G100890 | Range Spring, 10 AND 25 PSIG |
| G100892 | Range Spring, 100 PSIG |
| G100893 | Range Spring, 250 PSIG |
| G100891 | Range Spring, 50 PSIG |
| G100894 | Range Spring, 500 PSIG |
| G112328 | Stainless Steel Captured Vent Tamper Proof Cap KIT |
| **Miscellaneous Parts** | |
| G100172 | HPR-2 BRACKET (Step Type Bracket) |
| G100372 | HPR2 MOUNTING BRACKET (Large L Type Bracket) |
| G112549 | HPR2XW Vaporizer Screen Assembly Kit - Hastelloy C |
| G107153 | Monel Heat Exchange Block, with Extra outlet at 270. Welded Block Assy. |
| G100185 | 0.06 CV POPPET Stainless Steel |
| G110225 | 0.2 CV POPPET Stainless Steel |
| G110555 | 0.025 CV POPPET Stainless Steel |
|  |  |
| **CV Heated Regulator Spare Parts** | |
| **Diaphragm Assemblies and Poppet Kits** | |
| G111201 | 0-100 PSIG Diaphragm Assembly (Tefzel Seal Rings, Stainless Steel Standard) |
| G111203 | 0-500 PSIG Diaphragm Assembly (Teflon Seal Rings, Stainless Steel Standard) |
| G114543 | 0.06 Cv Poppet, Seat, and Spring Kit (Polyimide Seat) (1 required for each stage) |
| G114874 | 0.06 Cv Poppet, Seat, and Spring Kit (PEEK Seat) (1 required for each stage) |
| **Standard Temperature Controller Kits for Electrically Heated Units** | |
| **120 Volt AC Units** |  |
| G101870-1 | 55-85 F, Range A |
| G101871-1 | 75-175 F, Range B |
| G101872-1 | 130-300 F, Range C |
| G101873-1 | 260-380 F, Range D |
| **240 Volt AC Units** |  |
| G101874-1 | 55-85 F, Range A |
| G101875-1 | 75-175 F, Range B |
| G101876-1 | 130-300 F, Range C |
| G101877-1 | 260-380 F, Range D |
| **Proportional Temperature Controller Kits for Electrically Heated Units** | |
| **120 Volt AC Units** |  |
| G109889-1 | 55-85 F, Range A |
| G109890-1 | 75-175 F, Range B |
| G109891-1 | 130-300 F, Range C |
| G109892-1 | 260-380 F, Range D |
| **240 Volt AC Units** |  |
| G109893-1 | 55-85 F, Range A |
| G109894-1 | 75-175 F, Range B |
| G109895-1 | 130-300 F, Range C |
| G109896-1 | 260-380 F, Range D |
| **Standard Heater/Thermistor Kits for Electrically Heated Units** | |
| **120 Volt AC Units** |  |
| G108514 | 40 Watt, (Replaces 106849) |
| G108512 | 50 Watt, (Replaces 106844) |
| G108510 | 100 Watt, (Replaces 106842) |
| G108524 | 150 Watt, (Replaces 108516 and 106695) TCO Option required at 150 Watts |
| **240 Volt AC Units** |  |
| G108515 | 40 Watt, (Replaces 106850) |
| G108513 | 50 Watt, (Replaces 106845) |
| G108511 | 100 Watt, (Replaces 106843) |
| G108525 | 150 Watt, (Replaces 108517 and 106696) TCO Option required at 150 Watts |
| **Optional TCO Heater/Thermistor Kits for Electrically Heated Units** | |
| **120 Volt AC Units** |  |
| G108522 | 40 Watt |
| G108520 | 50 Watt |
| G108518 | 100 Watt |
| G108524 | 150 Watt |
| **240 Volt AC Units** |  |
| G108523 | 40 Watt |
| G108521 | 50 Watt |
| G108519 | 100 Watt |
| G108525 | 150 Watt |
|  |  |
| **F-4 Filters** |  |
| **Complete Filters (Stainless Steel)** | |
| G102120-10 | 10 Micron |
| G102120-20 | 20 Micron |
| G102120-50 | 50 Micron |
| G102120-70 | 70 Micron |
| G102120-90 | 90 Micron |
| G102120-100 | 100 Micron |
| G102120-150 | 150 Micron |
| G102120-200 | 200 Micron |
| G102120-300 | 300 Micron |
| G102120-350 | 350 Micron |
| **Filter Kits (Stainless Steel)** | |
| G100089-XX (XX is replaced by Micron number to designate Micron rating for filter kit.) | |
|  |  |
| **F-6K Filters** |  |
| **Filter Replacement Kits (Inline Stainless Steel Units) (Teflon Seals)** | |
| G101705 | 2-5 Micron |
| G101706 | 5-9 Micron |
| G101707 | 10-15 Micron |
| G101708 | 20-30 Micron |
| G101709 | 40-55 Micron |
| G101855 | F6K LINE FILTER KIT 100 MESH |
| **Filter Replacement Kits (Bypass Stainless Steel Units) (Teflon Seals)** | |
| G101833 | 2-5 Micron |
| G101832 | 5-9 Micron |
| G101834 | 10-15 Micron |
| G101835 | 20-30 Micron |
| G101836 | 40-55 Micron |
| **Filter Replacement Kits (Inline Monel Units) (Teflon Seals)** | |
| G103861 | 2-5 Micron |
| G103862 | 5-9 Micron |
| G103863 | 10-15 Micron |
| G103864 | 20-30 Micron |
| G103865 | 40-55 Micron |
| **Filter Replacement Kits (Bypass Monel Units) (Teflon Seals)** | |
| G103866 | 2-5 Micron |
| G103867 | 5-9 Micron |
| G103868 | 10-15 Micron |
| G103869 | 20-30 Micron |
| G103870 | 40-55 Micron |
| **Filter Replacement Parts (Teflon Seals)** | |
| G101704 | Filter seal |
| 58-018-76 | Body seal |
| **Cyclone Filters** | |
| **Filter Replacement Kits (Stainless Steel, Single Element type units)** | |
| G100622-11 | 0.2 Micron - Teflon O-rings |
| G100622-12 | 0.2 Micron - Viton O-rings |
| G100622-21 | 1.0 Micron - Teflon O-rings |
| G100622-22 | 1.0 Micron - Viton O-rings |
| G100622-31 | 5.0 Micron - Teflon O-rings |
| G100622-32 | 5.0 Micron - Viton O-rings |
| G100622-41 | 10-15 Micron - Teflon O-rings |
| G100622-42 | 10-15 Micron - Viton O-rings |
| **Filter Replacement Kits (Stainless Steel, Dual Element type units)** | |
| G100623-11 | 0.2 Micron - Teflon O-rings |
| G100623-12 | 0.2 Micron - Viton O-rings |
| G100623-21 | 1.0 Micron - Teflon O-rings |
| G100623-22 | 1.0 Micron - Viton O-rings |
| G100623-31 | 5.0 Micron - Teflon O-rings |
| G100623-32 | 5.0 Micron - Viton O-rings |
| G100623-41 | 10-15 Micron - Teflon O-rings |
| G100623-42 | 10-15 Micron - Viton O-rings |
| **Filter Replacement Kits (Monel, Single Element type units)** | |
| G100624-11 | 0.2 Micron - Teflon O-rings |
| G100624-12 | 0.2 Micron - Viton O-rings |
| G100624-21 | 1.0 Micron - Teflon O-rings |
| G100624-22 | 1.0 Micron - Viton O-rings |
| G100624-31 | 5.0 Micron - Teflon O-rings |
| G100624-32 | 5.0 Micron - Viton O-rings |
| G100624-41 | 10-15 Micron - Teflon O-rings |
| G100624-42 | 10-15 Micron - Viton O-rings |
| **Filter Replacement Kits (Monel, Dual Element type units)** | |
| G100625-11 | 0.2 Micron - Teflon O-rings |
| G100625-12 | 0.2 Micron - Viton O-rings |
| G100625-21 | 1.0 Micron - Teflon O-rings |
| G100625-22 | 1.0 Micron - Viton O-rings |
| G100625-31 | 5.0 Micron - Teflon O-rings |
| G100625-32 | 5.0 Micron - Viton O-rings |
| G100625-41 | 10-15 Micron - Teflon O-rings |
| G100625-42 | 10-15 Micron - Viton O-rings |
| **Miscellaneous Parts** | |
| G109954 | Support (Back Up) Screen (Stainless Steel units) |
| G109958 | Mounting Bracket |
|  |  |
| **Pressure Gauges (Note: Some gauges are not stock items.)** | |
| **Brass** |  |
| **2 1/2" Diameter, 1/4" MNPT Bottom Connection** | |
| G058000 | 0-15 PSIG |
| G058001 | 0-30 PSIG |
| G058002 | 0-60 PSIG |
| G058003 | 0-100 PSIG |
| G058006 | 0-400 PSIG |
| G058007 | 0-600 PSIG |
| G058008 | 0-1000 PSIG |
| G058009 | 0-1500 PSIG |
| G058010 | 0-2000 PSIG |
| G058011 | 0-3000 PSIG |
| G058013 | 0-4000 PSIG |
| **2" Diameter, 1/4" MNPT Bottom Connection** | |
| G058014 | 0-15 PSIG |
| G058015 | 0-30 PSIG |
| G058016 | 0-60 PSIG |
| G058017 | 0-100 PSIG |
| G058018 | 0-200 PSIG |
| G058020 | 0-400 PSIG |
| G058021 | 0-600 PSIG |
| G058022 | 0-1000 PSIG |
| G058023 | 0-1500 PSIG |
| G058025 | 0-3000 PSIG |
| G058026 | 0-4000 PSIG |
| **316 Stainless Steel** | |
| **2 1/2" Diameter, 1/4" MNPT Bottom Connection** | |
| G058100 | 0-15 PSIG |
| G058101 | 0-30 PSIG |
| G058102 | 0-60 PSIG |
| G058103 | 0-100 PSIG |
| G058104 | 0-160 PSIG |
| G058105 | 0-200 PSIG |
| G058106 | 0-300 PSIG |
| G058107 | 0-400 PSIG |
| G058108 | 0-600 PSIG |
| G058109 | 0-1000 PSIG |
| G058110 | 0-1500 PSIG |
| G058111 | 0-2000 PSIG |
| G058112 | 0-3000 PSIG |
| G058139 | 0-4000 PSIG |
| G058113 | 0-6000 PSIG |
| G058114 | 0-10,000 PSIG |
| **2" Diameter, 1/4" MNPT Bottom Connection** | |
| G058522 | 0-15 PSIG/BAR |
| G058504 | 30"-0-15 PSIG/BAR |
| G058505 | 30"-0-30 PSIG/BAR |
| G058506 | 30"-0-60 PSIG/BAR |
| G058507 | 30"-0-100 PSIG/BAR |
| G058509 | 30"-0-200 PSIG/BAR |
| G058511 | 0-400 PSIG/BAR |
| G058519 | 0-600 PSIG/BAR |
| G058512 | 0-1000 PSIG/BAR |
| G058514 | 0-2000 PSIG/BAR |
| G058515 | 0-3000 PSIG/BAR |
| G058516 | 0-4000 PSIG/BAR |
| G058517 | 0-6000 PSIG/BAR |
| **Stainless Steel 2 1/2" Diameter, 1/4" MNPT Lower Back Mount Connection (Used in LNG Box Assemblies)** | |
| G058120 | 0-30 PSIG |
| G058121 | 0-60 PSIG |
| G058122 | 0-100 PSIG |
| G058124 | 0-300 PSIG |
| G058125 | 0-600 PSIG |